STANDARD SCHEDULE OF RATES  FOR THE YEAR  2008 -2009

TAMILNADU WATER SUPPLY AND DRAINAGE BOARD  STANDARD SCHEDULE OF RATES FOR THE YEAR  2008 –2009.

INDEX

| Sl. No. | CONTENTS | PAGE NO |
| --- | --- | --- |
| I | General Notes | 1 |
| II | Rates for Labour | 10 |
| III | Rates for Materials with excise duty and without excise duty | 15 |
| IV | Rates for pumpsets | 71 |
| V | Rates for Building Materials | 105 |
| VI | Rates for Electrical Items | 114 |
| VII | Rates for work | 139 |
| VIII | Rates for Conveyance of Materials | 165 |
| IX | Rates for Miscellaneous items | 176 |
| X | Rates for Earth work Excavation for pipe laying works | 187 |
| XI | Rates for Earth works Excavation and Refilling for pipe line works on Linear Measurement Basis | 191 |
| XII | Rates for Earth work Excavation other than pipe laying and wells | 193 |

GENERAL NOTES

RATES FOR LABOUR

RATES  FOR MATERIALS WITH EXCISE DUTY AND WITHOUT EXCISE DUTY

RATES  FOR  PUMPSETS

For individual specifications for various items regarding pumpsets & Electrical Equipments, the specifications already given in the Mannual for Pumpsets should be followed.

RATES FOR BUILDING MATERIALS

RATES FOR ELECTRICAL ITEMS

# RATES FOR WORK

RATES FOR CONVEYANCE OF MATERIALS

RATES FOR MISCELLANEOUS ITEMS

RATES  FOR EARTHWORK EXCAVATION FOR

PIPE LAYING WORKS

RATES  FOR EARTH WORK EXCAVATION AND REFILLING FOR PIPELINE WORKS ON LINEAR MEASUREMENT BASIS

RATES  FOR EARTH WORK EXCAVATION OTHER THAN PIPE LAYING AND WELLS

BUILDING MATERIALS

1.	Cement -	Rs. 4400 – per metric tonne

(Rupees Four Thousand four hundred  only)

The rate for cement is inclusive of all taxes, freight charges upto Dealer’s Godown, loading and unloading charges.  Necessary lead charges (i.e. excluding loading and unloading charges) as applicable as per conveyance table, may be allowed from the Dealer’s Godown to the site of work, if duly certified by an officer not below the rank of Assistant Executive Engineer.

2.	Steel   of all sizes -	Rs.45,000/- per metric tonne

(Rupees Forty five   thousand only)

The rate for steel is inclusive of all taxes, freight charges at Stockyard/ Dealer’s Godown.  Necessary lead charges (i.e. excluding loading and unloading charges) as applicable as per conveyance table, may be allowed from the Stockyard/ Dealer’s Godown to the site of work, if duly certified by an officer not below the rank of Assistant Executive Engineer.

However, in this case, if the source is specified as “Stockyard” the same shall be decided and approved by the Superintending Engineers concerned.

The above rates for cement and steel are with effect from 01.04.2008 for adoption in the estimate.

(The above rates is subjected to revision as and when revised by the PWD authorities)

BUILDING MATERIALS

| Sl. No. | #### Description | Unit | Rates (in Rs.) |
| --- | --- | --- | --- |
| 3. | Bricks-II Class Table Moulded (Chamber burnt) |  |  |
| a. | 9” x 4 ½” x 3” | 1000 Nos. | 3020.00 |
| b. | 9” x 4 3/8 ” x 2 ¾” | 1000 Nos. | 2940.00 |
| 4. | Bricks-II Class (Ground Chamber Burnt) |  |  |
| a. | 9”x4 ½” x3” | 1000 Nos. | 2630.00 |
| b. | 9”x4 3/8” x 2 ¾ | 1000 Nos. | 2560.00 |
| 5. | Bricks-III Class (country bricks, Kiln burnt) |  |  |
| a | 22 x 11 x 5 cm (8 ¾” x 4 ¼” x 2”) | 1000 Nos. | 1675.00 |
| b. | 22 x 11 x 5.7 cm (8 ¾” x 4 ¼” x 2 ¼”) | 1000 Nos. | 1745.00 |
| c. | 22 x 11 x 7cm (8 ¾ ” x 4 ¼ ” x 2 ¾”) | 1000 Nos. | 2220.00 |
| 6. | Fly Ash bricks (Fal G Bricks) |  |  |
| a. | 230 x 110 x 70mm | 1000 Nos. | 2365.00 |
| 7. | Bricks country (specially moulded for well steining |  |  |
| a. | 8 ¾ “x 4 ¼ “ x 2” | 1000 Nos. | 990.00 |
| b. | Perforated Bricks 19 x 9 x 9cm | 1000 Nos. | 1705.00 |
| c. | Terrace Bricks 15 x 7.5 x 2.5cm | 1000 Nos. | 440.00 |
| 8. | Flat Tiles |  |  |
| a. | 15cm x 15cm x 12mm | 1000 Nos. | 495.00 |
| b. | 15cm x 15cm x 20mm | 1000 Nos. | 585.00 |
| 9. | Brick Jelly |  |  |
| a. | 40mm Size | 1 M3 | 295.00 |
| b. | 20mmsize | 1 M3 | 320.00 |
| 10. | Pressed Tiles |  |  |
| a. | 20cm x 20cm x 2cm | 1000 Nos. | 5130.00 |
| b. | 23cm x 23cm x 2cm | 1000 Nos. | 6840.00 |
| 11. | Pan Tiles |  |  |
| a. | 23cm x 8cm x 1.7cm | 1000 Nos. | 259.00 |
| b. | 16.5cm x 8cm x 1.7cm | 1000 Nos. | 213.00 |
| 12. | Best mangalore Tiles |  |  |
| a. | 1st Class ’A’ | 1000 Nos. | 6110.00 |
| b. | Class ’AA’ | 1000 Nos. | 6230.00 |
| c. | ###### Best Mangalore Ridge Tiles | 1000 Nos. | 17845.00 |
| d. | Best Mangalore Ceiling Tiles | 1000 Nos. | 3760.00 |
| e. | Best Mangalore Glass roofing tiles | Each | 179.00 |
| f. | Best Mangalore Ventilating tiles (single) | Each | 28.00 |
| g. | Best Mangalore Ventilating tiles (double) | Each | 35.00 |
| 13. | Mosaic Flooring tiles GREY |  |  |
| a. | 25cm x 25cm x 20mm | 1000 Nos. | 8650.00 |
| b. | 20cm x 20cm x 20mm | 1000 Nos. | 5510.00 |
| 14. | Mosaic (other colour) |  |  |
| a. | 25cm x 25cm x 2cm | 1000 Nos. | 11895.00 |
| b. | 20cm x 20cm x 2cm | 1000 Nos. | 7030.00 |
| c. | ###### Mosaic (Green) 20cm x 20cm x 2cm | 1000 Nos. | 8650.00 |
| d. | Mosaic (Green) 25cm x 25cm x 2cm | 1000 Nos. | 13525.00 |
| e. | Chequered Tiles of Grey colour size 25cm x 25cmx2cm | 1000 Nos. | 10815.00 |
| 15. | Stone and Road materials |  |  |
| 16. | Rough stone for Masonry works (Hard Granite) | 1M3 | 262.00 |
| 17. | Rough stone for revetment works | 1M3 | 228.00 |
| 18. | Jeddy size for revetment (Hard granite) | 1M3 | 251.00 |
| 19. | Cut stone pillar of size 0.15 x 0.15 x 2.1M | Each | 99.00 |
| 20. | ###### From boulders without blasting for revetment | 1M3 | 68.00 |
| 21. | From boulders without blasting for masonry | 1M3 | 99.00 |
| 22. | Coursed rubble stone for masonry works | 1M3 | 210.00 |
| 23. | Coursed rubble for Arch work | 1M3 | 228.00 |
| 24. (A) | Chisel dressed stone |  |  |
| a. | 70cm x 30cm x 29cm | 1 RM | 105.00 |
| b. | 37cm x 30cm x 29cm | 1 RM | 105.00 |
| 24.(B) | Hammer dressed stone, |  |  |
|  | 37cm x 30cm x 29cm | 1 RM | 73.00 |
| 25. | Cut stone fully dressed to size on all faces | 1M3 | 3728.00 |
| 26. | Cut stone roughly dressed | 1M3 | 2580.00 |
| 27. | Ashlar arch stone fully dressed to size all faces | 1M3 | 2840.00 |
| 28. | Flooring stone SS size (not less than 10cm thick) | 1M2 | 210.00 |
| 29. | Stone slab for culvert (3 faces, one line dressed) |  |  |
| a. | Above 1.2m | 1M3 | 2710.00 |
| b. | Upto 1.2m | 1M3 | 2460.00 |
| 30. | Stone slab for culvert (3 faces, Two line dressed) | 1M3 | 3020.00 |
| 31. | For lintel coping (3 faces, Two line dressed) | 1M3 | 3020.00 |
| 32. | Bond stones | 1M3 | 360.00 |
| 33. | Kilometre stone 1.65 x 0.45 x 0.15m | Each | 260.00 |
| 34. | Hecta metre stone |  |  |
| a. | 0.90 x 0.10 x 0.1m | Each | 73.00 |
| b. | 0.75 x 0.23 x 0.10m | Each | 135.00 |
| c. | 0.90 x 0.15 x0.15m | Each | 130.00 |
| 35. | Demarcation stone (Two line dressed for top 30cm) |  |  |
| a. | 0.75 x 0.15 x 0.15m | Each | 63.00 |
| b. | 0.90 x 0.23 x 0.23m | Each | 65.00 |
| c. | 0.76 x 0.23 x 0.23m | Each | 42.00 |
| d. | 0.90 x 0.15 x 0.15m | Each | 52.00 |
| e. | Demarcation Stone with letters cut 0.75 x 0.15 x 0.15m | Each | 73.00 |
| f. | Edge stone 0.45 x 0.15 x 0.15m | Each | 34.00 |
| g. | T.R.S. Bench Mark Stone neatly dressed the exposed surface to a height of 15cm including cutting letters |  |  |
| i) | 0.15 x 0.15 x 0.60m | Each | 84.00 |
| ii) | 0.10 x 0.10 x 0.25m | Each | 61.00 |
| 36. a. | Guard Stone (Two line dressed for top 45cm) 23cm dia 1.0m long | Each | 97.00 |
| b. | Guard stone (Top 0.70m chissel dressed and 0.50m bottom roughly dressed) 0.23m x 0.23m x 1.20m long | Each | 103.00 |
| c. | 0.23m x 0.23m x 0.9m long | Each | 97.00 |
| d. | 0.15m x 0.15m x 0.90m long | Each | 68.00 |
| e. | Guard stone 90cm long 23cm dia | Each | 50.00 |
| 37 | Hard broken Granite stone jelly (I.S.S. standard) machine crushed/Hand broken. |  |  |
| i. | 90mm size | 1M3 | 240.00 |
| ii. | 80mm size | 1M3 | 270.00 |
| iii. | 63mm size | 1M3 | 310.00 |
| iv. | 50mm size | 1M3 | 360.00 |
| v. | 40mm size | 1M3 | 560.00 |
| vi. | 25mm size | 1M3 | 480.00 |
| vii. | 20mm size | 1M3 | 780.00 |
| viii. | 12mm size | 1M3 | 720.00 |
| ix. | 10mm size | 1M3 | 530.00 |
| x. | 6mm size | 1M3 | 360.00 |
| xi. | 3mm size | 1M3 | 325.00 |
| 38.A. | Broken stone from surface stone and boulders |  |  |
| i. | 40mm size | 1M3 | 45.00 |
| ii. | 50mm size | 1M3 | 40.00 |
| iii. | 60mm size | 1M3 | 35.00 |
| iv. | 75mm size | 1M3 | 31.00 |
| 38.B. | Quartz metal |  |  |
| i. | 50mm | 1M3 | 58.00 |
| ii. | 40mm | 1M3 | 59.00 |
| 39 | Soft broken stones |  |  |
| i. | 63mm | 1M3 | 45.00 |
| ii. | 40mm | 1M3 | 50.00 |
| 40. | Laterite 40mm to 75mm size | 1M3 | 58.00 |
| 41. | Kankar 40mm to 75mm size | 1M3 | 58.00 |
| 42 A | Soling stones (Granite) 15cm cube (un blasted) | 1M3 | 68.00 |
| 42.B. | Soling stones (Granite) 15cm cube (blasted) | 1M3 | 110.00 |
| 43. A | Gravel | 1M3 | 97.00 |
| 43 B | Well Gravel | 1M3 | 86.00 |
| 43 C. | Screened Kunkar Gravel | 1M3 | 63.00 |
| 44 A | Quarry rubbish | 1M3 | 58.00 |
| 44 B. | Stone dust | 1M3 | 73.00 |
| 44 C. | Pond Ash wet and dry | 1M3 | 57.00 |
| 45 | ###### Sand for mortar | 1M3 | 110.00 |
| 46. | Sand for filling | 1M3 | 110.00 |
| 47. | Clay for puddle and masonry | 1M3 | 23.00 |
| 48. i) | Cuddapah slab 50mm thick | 1M2 | 270.00 |
| ii) | Cuddapah slab 38mm/40mm thick | 1M2 | 260.00 |
| iii) | Cuddapah slab 20mm/30mm thick | 1M2 | 240.00 |
|  | LIME AND CEMENT |  |  |
| 49. | Shell Lime (Slacked and screened) | 1M3 | 850.00 |
| 50. | Freshly slacked and screened burnt lime stone | 1M3 | 625.00 |
| 51. | Stone Lime or lime metal | 1M3 | 57.00 |
|  | TIMBER AND ROOFING MATERIALS |  |  |
| 52. | Teakwood scantlings (large in length over 3m for joists and rafters) Malabar | 1M3 | 76950.00 |
| 53. | Teakwood scantlings for tie beams and principal rafters of Malabar | 1M3 | 75500.00 |
| 54. | Teakwood scantlings over 2m and below 3m in length Malabar | 1M3 | 73500.00 |
| 55. | Teakwood scantlings below 2m in length – Malabar | 1M3 | 65400.00 |
| 56. | Teakwood planks |  |  |
| i) | Over 45cm wide and 12mm thick. | 1M3 | 81000.00 |
| ii) | Over 30cm and upto 45cm wide and 12mm thick | 1M3 | 75200.00 |
| iii) | Over 30cm and upto 45cm wide and 12mm to 25mm thick | 1M3 | 70400.00 |
| iv) | Over 30cm and upto 45cm wide and 25mm to 40mm thick | 1M3 | 67600.00 |
| v) | Over 15cm and upto 30cm wide and 12mm thick | 1M3 | 65800.00 |
| vi) | Over 15cm and upto 30cm wide and 12mm to 25mm thick | 1M3 | 62500.00 |
| vii) | Over 15cm and below 30cm wide and 25mm to 40mm thick | 1M3 | 61300.00 |
| viii) | Upto 15cm wide and 12mm thick | 1M3 | 60150.00 |
| ix) | Upto 15cm wide and 12mm to 25mm thick | 1M3 | 60150.00 |
| x) | Upto 15cm wide and 25mm to 40mm thick | 1M3 | 56800.00 |
| 57. | Teak wood best reepers |  |  |
| i) | 50mm x 25mm | 1 RM | 51.00 |
| ii) | 50mm x 12mm | 1 RM | 41.00 |
| 58. | Countrywood Scantlings |  |  |
| i) | ###### Upto 4m in length | 1M3 | 22680.00 |
| ii) | Over 4m in length | 1M3 | 23835.00 |
| 59.A. | Countrywood scantlings for tie beam and principal rafter for trusses | 1M3 | 23835.00 |
| 60. | Jack wood scantlings upto 4m | 1M3 | 24990.00 |
| 61. | Silver Oak scantling | 1M3 | 10340.00 |
| 62. | Country wood planks |  |  |
| i) | 40mm thick upto 30cm width | 1M3 | 26090.00 |
| ii) | 25mm thick upto 30cm width | 1M3 | 26090.00 |
| iii) | 40mm thick over 30cm width | 1M3 | 26090.00 |
| iv) | 25mm thick over 30cm width | 1M3 | 26090.00 |
| 63.a. | ###### Jack wood planks 25 to 40mm thick | 1M3 | 27300.00 |
| b. | Silver Oak plank 40mm thick | 1M3 | 11800.00 |
| c. | Blue gum plank | 1M3 | 12000.00 |
| 64. | Country wood reepers |  |  |
| a. | 50mm x 25mm | 1 RM | 23.00 |
| b. | 50mm x 12mm | 1 RM | 17.00 |
| 65. | Mango Plank | 1M3 | 11200.00 |
| 66.a. | Palmyrah rafter (best hard) 50mm to 60mm width – 125mm depth | 1 RM | 33.00 |
| b. | Palmyrah leaves | 100 Nos. | 170.00 |
| c. | ###### Palmyrah leaves Labour for cutting | 100 Nos. | 27.00 |
| 67. | Casurina Poles |  |  |
| a. | 13cm to 15cm diameter | 1 RM | 22.00 |
| b. | 10cm to 13cm diameter | 1 RM | 17.00 |
| c. | 8cm to 10cm diameter | 1 RM | 13.00 |
| d. | 5cm to 8cm diameter | 1 RM | 11.00 |
| 68.1 | Eucalyptus Poles |  |  |
| A | 13cm to 15cm dia | 1m | 22.00 |
| B | 10cm to 13 cm dia | 1m | 16.00 |
| C | 8 cm to 10 cm dia | 1m | 13.00 |
| D | 5 cm to 8 cm dia | 1m | 11.00 |
| E | Below 5 cm | 1 m | 10.00 |
| 69.2 | Eucalyptus Bullies 4cm to 5 cm dia & cross ties | 1m | 8.00 |
| 70. | Casurina bullies 4cm to 5cm diameter and cross ties | 1 RM | 9.00 |
| 71. | Bamboo large |  |  |
| i) | 10cm diameter and above | 1 RM | 8.00 |
| ii) | 7.5cm to 10cm diameter | 1 RM | 7.00 |
|  | METAL AND IRON WORKS |  |  |
| 72. | Mild steel plates or sheets BG 10 | 1 Kg. | 42.00 |
| 73. | Mild Steel Angles 25mm x 25mm x 3mm | 1 Kg. | 42.00 |
| 74.a) | Binding wire (Black 18G) | 1 Kg. | 40.00 |
| b) | Binding wire (Galvanised – 18G) | 1 Kg. | 45.00 |
| 75. | G.I. sheets 30cm wide and 1.6mm thick | 1 Kg. | 335.00 |
| 76. | Weld mesh |  |  |
| i) | 7.5 x 2.5cm, 10 gauge | 1M2 | 235.00 |
| ii) | 7.5cm x 5cm, 10 gauge | 1M2 | 210.00 |
| iii) | 10cm x 10cm, 10 gauge | 1M2 | 115.00 |
| 77. | Chicken Mesh | M2 | 26.00 |
| 78. | Fly Proof Mesh | M2 | 73.00 |

Note:	1.	For Road works, the Schedule of rates of Highways Department

may be adopted, in respect of materials for which rates are not available in this schedule of rates.

2.	For materials viz.	Bricks and tile products, stone jelly, gravel, sand, lime stone etc., necessary incidental charges, loading charges,  and unloading charges have been included. Hence no separate incidental charges, loading and unloading charges shall be allowed for the above materials.

3.	For stone jelly IRC standards, rates furnished in Highways schedule of Rates may be taken.