ELECTRICAL ITEMS

ELECTRICAL LAMPS, FITTINGS AND CONNECTED ACCESSORIES

# PART ‘A’

| Item No. | # Description | Unit | Rate Rs. |
| --- | --- | --- | --- |
|  | PART-A |  |  |
| 1 | INCANDESCENT BULBS 230V/ 250V GRADE B.C/E.S WITH ISI |  |  |
|  | a. 15 Watts | Each | 11.00 |
|  | b. 25 Watts | Each | 11.00 |
|  | c. 40 Watts | Each | 11.00 |
|  | d. 60 Watts | Each | 11.00 |
|  | e. 100 Watts | Each | 12.00 |
|  | f. 150 Watts | Each | Deleted |
|  | g. 200 Watts | Each | 25.00 |
| 2. | INCANDESCENT BULB 230V/250V GRADE B.C/ E.S. |  |  |
|  | COLOUR 15 WATTS | Each | 12.50 |
| 3 | Blended lamp 160 Watts | Each | 242.00 |
| 3 a) | PL LAMP (PHILIPS/ OSRAM) |  |  |
|  | 9 Watts | Each | 75.00 |
|  | 11 Watts | Each | 80.00 |
|  | 18 Watts | Each | 165.00 |
|  | 36 Watts | Each | 180.00 |
| 4 | FLUORESCENT TUBULAR LAMPS WITH ISI MARK |  |  |
|  | a. Cool Daylight 2 Ft. 20 Watts | Each | 42.00 |
|  | b. Cool Day light 4 Ft. 40 Watts | Each | 46.00 |
|  | c. Cool Day light 4 Ft. 36 Watts | Each | 42.00 |
| 5. | MERCURY VAPOUR DISCHARGE LAMP 230V GRADE 3 PIN BC |  |  |
|  | a. 80 Watts | Each | 174.00 |
|  | b. 125 Watts | Each | 182.00 |
|  | c. 250 Watts | Each | 444.00 |
|  | d. 400 Watts | Each | 626.00 |
| 6. | BOX TYPE SINGLE FLUORESCENT FITTING WITH COPPER CHOKE AND CONDENSOR COMPLETE WITH ISI MARK |  |  |
|  | a. 4 ft. 40 Watts with ballast | Each | 289.00 |
|  | b. 4 ft. 40 Watts box type with ballast (Philips/ Crompton /Wipro) | Each | 425.00 |
| 7. | BOX TYPE TWIN FLUORESCENT FITTING WITH COPPER CHOKE AND CONDENSOR (HPF) COMPLETE WITH ISI MARK. |  |  |

| Item No. | # Description | Unit | Rate Rs. |
| --- | --- | --- | --- |
|  | a. 4ft. 40 Watts | Each | 498.00 |
|  | b. 4 ft. 40 Watts box type (Philips/ Crompton ) With ballast | Each | 650.00 |
| 8. | INDUSTRIAL TYPE FLUORESCENT FITTING STOVE ENAMELLED WITH COPPER CHOKE AND CONDENSOR (HPF) 4 ft. 40W |  |  |
|  | a. Single type suitable for 1 No. tube | Each | 465.00 |
|  | b. Twin type suitable for 2 Nos. tube | Each | 653.00 |
| 9. | DECORATIVE AND SINGLE FLUORESCENT TYPE FITTING WITH COPPER CHOKE AND CONDENSOR (HPF) COMPLETE SUITABLE FOR ONE NUMBER FLUORESCENT TUBE WITH ISI MARK |  |  |
|  | a. 4 ft. 40 Watts with Perspex | Each | Deleted |
| 10. | DECORATIVE TWIN FLUORESCENT TYPE FITTING WITH COPPER CHOKE AND CONDENSOR COMPLETE SUITABLE FOR TWO NUMBERS FLUORESCENT TUBE |  |  |
|  | a. 4 ft. 40 Watts with louvers | Each | deleted |
|  | b. 4 ft. 40 Watts with Perspex | Each | deleted |
|  | c. 4 ft. 40 Watts (Philips/ Crompton /Wipro) | Each | deleted |
|  | d. 4 ft. 40W Twin mirror optic Recessed mounting fitting | Each | 1391.00 |
|  | e. 4 ft. 40W Twin Mirror optic suspension type fitting. (Philips/ Crompton /Wipro) | Each | 2060.00 |
|  | f. 4 ft 40W Twin Mirror Optic Recessed mounting type fitting(Philips/ Crompton/ Wipro) | Each | 1840.00 |
| 11. | SINGLE TYPE STREET LIGHTS FLUORESCENT FITTING SUITABLE FOR THE ONE NO. FLUORESCENT TUBE WITH COPPER CHOKE AND CONDENSOR COMPLETE |  |  |
|  | a. 4 ft. 40 Watts type | Each | 642.00 |
| 12. | TWIN TYPE STREET LIGHTS FLUORESCENT FITTING SUITABLE FOR 2 Nos. FLUORESCENT TUBES WITH COPPER CHOKE AND CONDENSOR COMPLETE |  |  |
|  | 4 ft. 40 Watts type | Each | 824.00 |
| 13. | POST TOP LANTERN FITTING OF (INTEGRAL TYPE) WITH COPPER CHOKE AND CONDENSOR & NECESSARY ACCESSORIES (PHILIPS/ CROMPTON CREAVES/WIPRO)(SPHERICAL / RIBBED /CONICAL ACRYLIC COVER) |  |  |
|  | a. Suitable for 125 Watts M.V lamp | Each | 2870.00 |

| Item No. | # Description | Unit | Rate Rs. |
| --- | --- | --- | --- |
|  | a. Suitable for 70 Watts S.V. Lamp | Each | 2950.00 |
|  | c. Post top lantern fitting with SC holder suitable for 160 W blended lamp/ incandescent lamp | Each | 1790.00 |
| 14. | STARTERS FOR FLUORESCENT TUBES |  |  |
|  | a. Starters of capacity 20 watts | Each | 9.00 |
|  | b. Starters of capacity 40 watts | Each | 9.00 |
| 15. | POLYSTER FILLED COPPER CHOKE 250V/ 50 HZ GRADE SUITABLE FOR (PHILIPS/ CROMPTON /WIPRO) |  |  |
|  | a. 20 Watts fluorescent tube | Each | 150.00 |
|  | b. 40 Watts fluorescent tube | Each | 150.00 |
|  | c. 36/40W Electronic ballast for flu. tube (Philips/ Crompton ) | Each | 295.00 |
|  | d. 36/40W Electronic ballast for flu. tube (INdo Asean/Equivalent) | Each | 230.00 |
| 16. | CONDENSOR FOR SV/ M.V LAMP |  |  |
|  | a. 8 Mfd for 80 Watts bulb | Each | 78.00 |
|  | b. 10 Mfd for 125 watts bulb | Each | 89.00 |
|  | c. 15 Mfd for 250 Watts bulb | Each | 136.00 |
|  | d. 20 Mfd for 400 watts bulb | Each | 159.00 |
| 17. | Pendent type brass holder | Each | deleted |
| 18. | Battern type brass holder | Each | deleted |
| 19. | Battern type bakelite holder for lamp | Each | 15.00 |
| 20. | Water tight bulk head fitting available for 100/60 watts lamp with guard heavy type (PHILIPS/ BAJAJ/ CROMPTON GREAVES) | Each | 300.00 |
| 21. | Ceiling Rose | Each | 12.00 |
| 22. | a. Ceiling fixtures 250/300mm complete with gallery etc. clear glass opac/ crystal suitable for 40/60 watts bulb | Each | 112.00 |
|  | b. Ceiling luminaire with mirror optics suitable for 2 Nos. 9 Watts/11 Watts (Philips/Crompton/Bajaj) | Each | 1060.00 |
|  | (FOR ITEMS 6 TO 13, 20 & 22 , THE RATES ARE EXCLUSIVE OF COST OF TUBES AND LAMPS) |  |  |

| Item No. | # Description |  | Unit | Rate Rs. |
| --- | --- | --- | --- | --- |
| 23. | Fan clamp (dia 12mm) with 6mm MS side plates & 45 cm cross arm |  | Each | 100.00 |
| 24. | CALL BELLS |  |  |  |
|  | a. Call bell/ Buzzar 6mm suitable for AC/DC |  | Each | 39.00 |
|  | b. Push bell |  | Each | 17.00 |
|  | c. Gong bell 9” size suitable for 250 V |  | Each | 388.00 |
|  | d. Gong bell 12” size suitable for 250V |  | Each | 471.00 |
| 25. | WATER HEATER WITH ISI MARK |  |  |  |
|  | a.Automatic electrical water heater with Copper container with glass Wool/ Puf insulation with MS powder coated shell suitable for 25 litres capacity 230V/1000W |  | Each | 4815.00 |
|  | b. Automatic electrical water heater with Copper container with glass Wool/ Puf insulation with MS powder coated shell suitable for 25 litres capacity 230V/1000W(Venus/Racold) |  | Each | 6030.00 |
|  | c. Automatic electrical water heater with Copper container with glass Wool/ Puf insulation with MS powder coated shell suitable for 35 litres capacity 230V/1000W |  | Each | 5564.00 |
|  | d. Automatic electrical water heater with Copper container with glass Wool/ Puf insulation with MS powder coated shell suitable for 35 litres capacity 230V/1000W(Venus/Racold) |  | Each | 6900.00 |
|  | e. Automatic electrical water heater with Copper container with glass Wool/ Puf insulation with MS powder coated shell suitable for 50 litres capacity |  | Each | deleted |
|  | # PART ‘B’ |  |  |  |
| 1. | FANS – CONFORMING TO ISS 374 / 1979 |  |  |  |
|  | a. AC ceiling fan complete 1200mm (48”) sweep with 300mm Down rod.(without regulator) | Each |  | 1017.00 |
|  | b. AC ceiling fan complete 1400mm (56”) sweep with 300mm Down rod. (Without regulator) | Each |  | 1124.00 |
|  | c. Stepped electronic 300W/450W square type fan regulator (Anchor Deluxe/Equivalent) | Each |  | 189.00 |
|  | d. Dimmer type electronic 300W/450W square type fan regulator (Anchor Deluxe/Equivalent) | Each |  | 155.00 |
|  | e. AC ceiling fan complete 1200mm (48”) sweep with 300mm Down rod.(without regulator) ( Compton make) | Each |  | 1245.00 |

| Item No. |  | # Description |  | Unit |  | Rate Rs. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | f. AC ceiling fan complete 1400mm (56”) sweep with 300mm Down rod. (Without regulator) (Compton make) |  | Each |  | 1345.00 |  |  |
| Ii |  | EXHAUST FANS |  |  |  |  |  |  |
|  |  | a. AC exhaust fan 225 mm (9”) sweep (Light duty) |  | Each |  | 963.00 |  |  |
|  |  | b. AC exhaust fan 300 mm (12”) sweep (Light duty) |  | Each |  | 1177.00 |  |  |
|  |  | c. AC exhaust fan 375 mm (15”) sweep (Light duty) |  | Each |  | 1391.00 |  |  |
|  |  | d. AC exhaust fan 450 mm (18”) sweep (Light duty) |  | Each |  | 1712.00 |  |  |
|  |  | e. AC exhaust fan 375 mm (15”) sweep (Heavy duty) |  | Each |  | 2247.00 |  |  |
|  |  | f. AC exhaust fan 450 mm (18”) sweep (Heavy duty) |  | Each |  | 2857.00 |  |  |
| Iii |  | LOUVER SHUTTERS ARRANGEMENTS |  |  |  |  |  |  |
|  |  | a. MS/Fibre Louvers shutters arrangements for 300mm AC exhaust fan |  | Each |  | 225.00 |  |  |
|  |  | b. MS/Fibre Louvers shutters arrangements for 375mm AC exhaust fan |  | Each |  | 235.00 |  |  |
|  |  | c. MS/Fibre Louvers shutters arrangements for 450mm AC exhaust fan |  | Each |  | 268.00 |  |  |
|  |  | PART ‘C’ |  |  |  |  |  |  |
| I | SWITCHES |  |  |  |  |  |  |  |
|  | a. 5 Amps (Flush type) |  | Dozen |  | 167.00 |  |  |  |
|  | b. 5 Amps (Flush type stair case) |  | Dozen |  | 212.00 |  |  |  |
| Ii | DOUBLE POLE SWITCHES(GEM - HPL /HAVELLS/EQUIVALENT) |  |  |  |  |  |  |  |
|  | a. 16 AMPs DPIC switch with fuse and neutral(side handle) |  | Each |  | deleted |  |  |  |
|  | b. 32 Amps DPIC switch with fuse and neutral (side handle) |  | Each |  | deleted |  |  |  |
|  | c. 16 Amps DP switch with metal clad (front handle) |  | Each |  | 413.00 |  |  |  |
|  | d. 32 Amps DP switch with metal clad (front handle) |  | Each |  | 721.00 |  |  |  |
|  | e. 16 Amps DP switch with metal clad (side handle) |  | Each |  | 261.00 |  |  |  |

| Item No. | # Description |  |  | Unit |  |  | Rate Rs. |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | f. 32Amps DP switch with metal clad (side handle) |  |  | Each |  |  | 528.00 |  |  |
| iii. | A. TRIPLE POLE SWITCHES (SIDE HANDLE) (STANDARD /HPL/HAVELLS/ EQUIVALENT) |  |  |  |  |  |  |  |  |
|  | a. 16 Amps TPIC switch with fuse & neutral (500V) |  | Each |  |  | deleted |  |  |  |
|  | b. 32 Amps TPIC switch with fuse & neutral (500V) |  | Each |  |  | deleted |  |  |  |
|  | c. 63 Amps TPIC switch with fuse & neutral (500V) |  | Each |  |  | deleted |  |  |  |
|  | d. 100 Amps TPN switch with HRC fuses sheet steel double break |  | Each |  |  | 5590.00 |  |  |  |
|  | e. 125 Amps TPN switch with HRC fuses sheet steel double break |  | Each |  |  | 5607.00 |  |  |  |
|  | f. 200 Amps TPN switch with HRC fuses sheet steel double break |  | Each |  |  | 8145.00 |  |  |  |
|  | g. 315 Amps TPN switch with HRC fuses sheet steel double break |  | Each |  |  | 10989.00 |  |  |  |
|  | h. 400 Amps TPN switch with HRC fuses sheet steel double break |  | Each |  |  | 12708.00 |  |  |  |
|  | i. 16 Amps TPN metal clad switch with rewirable fuse units |  | Each |  |  | 860.00 |  |  |  |
|  | j. 32 Amps TPN metal clad switch with rewirable fuse units |  | Each |  |  | 1200.00 |  |  |  |
|  | k. 63 Amps TPN metal clad switch with rewirable fuse units |  | Each |  |  | 2545.00 |  |  |  |
|  | l. 100 amps metal clad switch with rewirable fuse units |  | Each |  |  | 4830. |  |  |  |
|  | m 200 Amps metal clad switch with rewirable fuse units |  | Each |  |  | 8082.00 |  |  |  |
| iv. | A. SWITCH DISCONNECTOR FUSE UNITS IN SHEET STEEL ENCLOSURE (sdf) (L&T/SIEMENS) |  |  |  |  |  |  |  |  |
|  | 1. 63 A TPN switch disconnector fuses in sheet steel enclosure with HRC fuses double break |  | Each |  |  | 3658.00 |  |  |  |
|  | 2. 100 A TPN switch disconnnector fuse in sheet steel enclosure with HRC fuses double break |  | Each |  |  | 5658.00 |  |  |  |
|  | 3. 125 A TPN switch disconnnector fuse in sheet steel enclosure with HRC fuses double break. |  | Each |  |  | 6530.00 |  |  |  |
|  | 4. 200 A TPN switch disconnnector fuse in sheet steel enclosure with HRC fuses double break |  | Each |  |  | 8675.00 |  |  |  |
|  | 5. 250 A TPN switch disconnnector fuse in sheet steel enclosure with HRC fuses double break | Each |  |  | 10185.00 |  |  |  |  |
|  | 6. 315 A TPN switch disconnnector fuse in sheet steel enclosure with HRC fuses double break | Each |  |  | 13354.00 |  |  |  |  |

| Item No. | # Description | Unit | Rate Rs. |
| --- | --- | --- | --- |
|  | - 400 A TPN switch disconnnector fuse in sheet steel enclosure with HRC fuses double break | Each | 14109.00 |
| iv. | B. SWITCH DISCONNECTOR FUSE UNITS IN OPEN EXECUITION (INTERIOR FOR CUBICAL (L&T/SIEMENS) |  |  |
|  | - 63A TPN Switch disconnector fuse interior only with HRC fuses double break | Each | 2370.00 |
|  | - 100 A TPN switch disconnnector fuse interior only with HRC fuses double break. | Each | 4268.00 |
|  | - 125 A TPN switch disconnector fuse interior only with HRC fuses double break. | Each | 5343.00 |
|  | - 200 A TPN switch disconnector fuse interior only with HRC fuses double break. | Each | 6666.00 |
|  | - 250 A TPN switch disconnector fuse interior only with HRC fuses double break. | Each | 8777.00 |
|  | - 315 A TPN switch disconnector fuse interior only with HRC fuses double break. | Each | 11125.00 |
|  | - 400 A TPN switch disconnector fuse interior only with HRC fuses double break. | Each | 12983.00 |
| iv | ###### FUSE UNITS(ANCHOR /EQUIVALENT) |  |  |
|  | a. 16 Amps Porcelain fuse unit (500v) | Each | 46.00 |
|  | b. 32 Amps Porcelain fuse unit (500v) | Each | 79.00 |
|  | c. 63 Amps Porcelain fuse unit (500v) | Each | 169.00 |
|  | d. 100 Amps Porcelain fuse unit (500v) | Each | 298.00 |
|  | e. 200 Amps Porcelain fuse unit (500v) | Each | 498.00 |
| v. | SINGLE PHASE DBS(GEM /EQUIVALENT) |  |  |
|  | a. 4 way DB 16 Amps /way with fuse & neutral Each (250v) | Each | 374.00 |
|  | b. 6 way DB 16 Amps /way with fuse & neutral Each (250v) | Each | 506.00 |

| Item No. |  | # Description |  | Unit |  | Rate Rs. |
| --- | --- | --- | --- | --- | --- | --- |
|  | c. 8 way DB 16 Amps /way with fuse & neutral Each (250v) |  | Each |  | 627.00 |  |
| Vi | THREE PHASE DBS(GEM /EQUIVALENT) |  |  |  |  |  |
|  | a. 4 way/TPDB 16A/way with fuse & neutral link |  | Each |  | 1705.00 |  |
|  | b. 6 way/TPDB 16A/way with fuse & neutral link |  | Each |  | 2162.00 |  |
|  | c. 8 way/TPDB 16A/way with fuse & neutral link |  | Each |  | 2789.00 |  |
|  | d. 4 way/TPDB 32A/way with fuse & neutral link |  | Each |  | 2332.00 |  |
|  | e. 6 way/TPDB 32A/way with fuse & neutral link |  | Each |  | 3108.00 |  |
|  | f. 8 way/TPDB 32A/way with fuse & neutral link |  | Each |  | 4026.00 |  |
|  | g. 4 way/TPDB 63A/way with fuse & neutral link |  | Each |  | 5594.00 |  |
|  | h. 6 way/TPDB 63A/way with fuse & neutral link |  | Each |  | 6848.00 |  |
| Vii | CHANGE OVER SWITCHES(GEM /HAVELLS / HPL/STANDARD /EQUIVALENT) |  |  |  |  |  |
|  | a. 16 Amps three phase 500 V 4 pole change over switch |  | Each |  | 1100.00 |  |
|  | - 32 Amps three phase 500 V 4 pole change over switch |  | Each |  | 1260.00 |  |
|  | - 63 Amps three phase 500 V 4 pole change over switch |  | Each |  | 2613.00 |  |
|  | - 100 Amps three phase 500 V 4 pole change over switch |  | Each |  | 5660.00 |  |
|  | - 200 Amps three phase 500 V 4 pole change over switch |  | Each |  | 7876.00 |  |

# PART ‘D’

| Item No. | Description | Unit | Rate Rs. |
| --- | --- | --- | --- |
| I | a. 5 Amps 3 pin and 2 pin combined flush type wall socket only. | Each | 20.00 |
|  | b. 5 Amps /15 amps.3 pin flush type wall socket only. | Each | 32.00 |
|  | c. 5 Amps 3 pin top | Each | 32.00 |
|  | d. 15 Amps 3 pin top | Each | 45.00 |
|  | e. 15 Amps flush type switch | Each | 52.00 |
|  | f. 10 Amps M.C plug with 3 pin top | Each | 164.00 |
|  | - 20 Amps M.C plug with 3 pin top | Each | 192.00 |
| ii.A | SINGLE PHASE E WATT HOUR METERS(HPL /EQUIVALENT) |  |  |
|  | a. AC single phase 230v/250v/50 HZ 5 Amps Watt Hour Meter | Each | 900.00 |
|  | b. AC single phase 230v/250v/50 HZ 10 Amps Watt Hour meter | Each | 900.00 |
|  | c. AC single phase 230v/250v/50 HZ 20 Amps Watt Hour meter | Each | 900.00 |
| II.B | THREE PHASE WATT HOUR METERS (ANCHOR /EQUIVALENT) |  |  |
|  | a. AC 3 phase 400v 50 HZ unbalanced load 4 wire 10 Amps watt hour meter | Each | 1950.00 |
|  | b. AC 3 phase 400v 50 HZ unbalanced load 4 wire 25 Amps watt hour meter | Each | 1950.00 |
|  | c. AC 3 phase 400v 50 HZ unbalanced load 4 wire 50 Amps watt hour meter | Each | 2700.00 |
|  | # PART ‘E’ |  |  |
| I | SERVICE CONNECTION ACCESSORIES LT. 1100V PVC ALUMINIUM CONDUCTOR ARMOURED UNDER GROUND CABLE WITH ISI MARK |  |  |
|  | a. 2 Core 6 sq.mm PVC armoured UG cable | Metre | 66.40 |
|  | b. 2 Core 10 sq.mm PVC armoured UG cable | Metre | 81.30 |
|  | c. 2 Core 16 sq.mm PVC armoured UG cable | Metre | 91.45 |
|  | d. 2 Core 25 sq.mm PVC armoured UG cable | Metre | 99.60 |
|  | - 3 ½ Core 25 sq.mm PVC armoured UG cable | Metre | 157.10 |
|  | - 3 ½ Core 35 sq.mm armoured UG cable | Metre | 185.00 |

| Item No. |  | # Description |  | Unit |  | Rate Rs. |
| --- | --- | --- | --- | --- | --- | --- |
|  | - 3 ½ Core 50 sq.mm PVC armoured UG cable |  | Metre |  | 244.50 |  |
|  | - 3 ½ Core 70 sq.mm PVC armoured UG cable |  | Metre |  | 320.20 |  |
|  | - 3 ½ Core 95 sq.mm PVC armoured UG cable |  | Metre |  | 422.30 |  |
|  | - 3 ½ Core 120 sq.mm PVC armoured UG cable |  | Metre |  | 521.00 |  |
|  | - 3 ½ Core 150 sq.mm PVC armoured UG cable |  | Metre |  | 617.00 |  |
|  | - 3 ½ Core 185 sq.mm PVC armoured UG cable |  | Metre |  | 764.70 |  |
|  | - 3 ½ Core 240 sq.mm PVC armoured UG cable |  | Metre |  | 978.40 |  |
|  | - 3 ½ Core 300 sq.mm PVC armoured UG cable |  | Metre |  | 1197.90 |  |
|  | - 3 ½ Core 400 sq.mm PVC armoured UG cable |  | Metre |  | 1507.00 |  |
|  | - 4 Core 6 sq.mm PVC armoured UG cable |  | Metre |  | 92.00 |  |
|  | - 4 Core 10 sq.mm PVC armoured UG cable |  | Metre |  | 99.00 |  |
|  | - 4 Core 16 sq.mm PVC armoured UG cable |  | Metre |  | 124.25 |  |
| ii | PVC SHEATHED CABLE ALUMINIUM SC CONDUCTOR |  |  |  |  |  |
|  | a. 2.5 sq.mm (1/1.8) cable 1100V grade |  | 100 mts |  | Deleted |  |
|  | b. 6 sq.mm (1/2.8) cable 1100 V grade |  | 100 mts |  | Deleted |  |
|  | c. 10 sq.mm( 1/3.5) cable 1100 V grade |  | 100 mts |  | Deleted |  |
|  | d. 16 sq.mm (7/1.7) cable 1100 V grade |  | 100 mts |  | Deleted |  |
|  | e. 25 sq.mm (7/2.14) cable 1100 V grade |  | 100 mts |  | Deleted |  |
| iii | PVC INSULATED UNSHEATHED SINGLE CORE ALUMINUM CONDUCTOR 1100 VOLT GRADE |  |  |  |  |  |
|  | - 2.5sq.mm (1/1.8 or equivalent) |  | Metre |  | 2.95 |  |
|  | - 4.0sq.mm (1/2.24 or equivalent) |  | Metre |  | 4.25 |  |
|  | c. 6.0sq.mm (1/2.8 or equivalent) |  | Metre |  | 5.70 |  |

| Item No. |  | # Description |  |  | Unit |  | Rate Rs. |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | d. 10sq.mm (1/3.5 or equivalent ) |  | Metre . |  |  | 9.30 |
|  |  | - 16sq.mm (7/1.7 or equivalent) |  | Metre |  |  | deleted |
|  |  | - 25sq.mm (7/2.14 or equivalent) |  | Metre |  |  | deleted |
|  |  | - 35sq.mm (7/2.5 or equivalent) |  | Metre |  |  | deleted |
|  |  | - 50 sq.mm (7/3.06 or equivalent) |  | Metre |  |  | deleted |
| iv. |  | PVC INSULATED SINGLE CORE MULTI STRAND FIRE RETARDANT FLEXIBLE COPPER CABLE WITH ISI MARK CONFORMING TO IS 694/ 1990 |  |  |  |  |  |
|  |  | a. 14/0.3 ( 1.0sq.mm ) |  | metre |  |  | 5.20 |
|  |  | b. 22/0.3 ( 1.5 sq.mm ) |  | metre |  |  | 8.70 |
|  |  | c. 36/0.3 ( 2.5 sq.mm ) |  | metre |  |  | 13.40 |
|  |  | d. 56/0.3 ( 4.0 sq.mm ) |  | metre |  |  | 20.30 |
|  |  | e. 84/0.3 ( 6.0sq.mm ) |  | metre |  |  | 32.25 |
|  |  | f. 140/0.3 ( 10.0 sq.mm ) |  | metre |  |  | 57.10 |
|  |  | g. 101/0.45 ( 16.0 sq.mm ) |  | metre |  |  | 92.70 |
|  |  | h. 168/0.45 ( 25.0 sq.mm ) |  | Metre |  |  | 123.75 |
| ### V | CONDUCTOR a Hard drawn copper conductor (Gauge No.8 & 6) b 14 SWG TC wire c Gl No.8 wire and No. 6 wire |  | KG KG KG |  |  | 350.00 360.00 64.00 |  |

| vi | CABLE GLANDS a. Cable gland suitable for 2 core 4 sq.mm UG cable b. Cable gland suitable for 2 core 6 sq.mm UG cable c. Cable gland suitable for 2 core 10 sq.mm UG cable d. Cable gland suitable for 2 core 16 sq.mm UG cable e. Cable gland suitable for 2 core 25 sq.mm UG cable f. Cable gland suitable for 3½ core 25 sq.mm UG cable g. Cable gland suitable for 3½ core 35 sq.mm UG cable h. Cable gland suitable for 3½ core 50 sq.mm UG cable i Cable gland suitable for 3½ core 70 sq.mm UG cable j. Cable gland suitable for 3½ core 95 sq.mm UG cable k. Cable gland suitable for 3½ core 120 sq.mm UG cable l. Cable gland suitable for 3½ core 150 sq.mm UG cable m. Cable gland suitable for 3½ core 185 sq.mm UG cable n. Cable gland suitable for 3½ core 240 sq.mm UG cable o. Cable gland suitable for 3½ core 300 sq.mm UG cable | Each Each Each Each Each Each Each Each Each Each Each Each Each Each Each | 12.00 15.00 16.00 27.00 28.00 29.00 35.00 41.00 41.00 53.00 74.00 94.00 108.00 124.00 141.00 |
| --- | --- | --- | --- |
|  | P Cable gland suitable for 3 ½ core 400 sq.mm UG cable q Cable galand suitable for 3 ½ core 500 sq.mm UG cable r Cable gland suitable for 4 core 6 sq.mm UG cable s Cable gland suitable for 4 core 10 sq.mm UG cable t Cable gland suitable for 4 core 25 sq.mm UG cable | Each Each Each Each Each | 171.00 194.00 16.00 22.00 31.00 |
| Viii | FUSE WIRE(COPPER) a 5 Amps fuse wire b 10 Amps fuse wire c 20 Amps fuse wire | Kg Kg Kg | 360.00 360.00 360.00 |

| Item No. | # Description | Unit | Rate Rs. |
| --- | --- | --- | --- |
| ix. | NEUTRAL LINK 15 AMPS a 4 way Neutral Link b 6 way Neutral Link c 8 way Neutral Lin D. 12 way Neutral Link | Each Each Each Each | 21.00 32.00 41.00 61.00 |
|  | PART "F" |  |  |
|  | M.S. BOX WITH PAINTING (16 SWG) a M.S Box of Size (100 x 100 x 75mm) b M.S Box of Size (150 x 100 x 75mm) c M.S Box of Size (200 x 150 x 75mm) d M.S Box of complete with lock & key arrangements with painting of size (300 x 200 x 100 mm) | Each Each Each Each | 40.00 58.00 90.00 288.00 |
|  | PART "G" |  |  |
| I | MS ANGLES a 1½ " x 1½" x 1/4" (37.5 x 37.5 x 6.24 mm) (1M: 3 ¼ Kg) b 1½"x 1½" x ½" (37.5 x 37.5 x 12.5mm) c 2" x 2" x ½" (50 x 50 x 12.5 mm) | KG KG KG | 29.00 29.00 29.00 |
|  | ii. ALUMINIUM FLAT a Aluminium Flat (1"x 1/4") (25x 6.25 mm) b Aluminium Flat ( 1"x1/8") | KG KG | 148.00 148.00 |
| iii | COPPER FLAT a Copper Flat (25 x 3 mm) b Copper Flat (25 x 6 mm) c Copper Flat (33 x 6 mm) d Copper Flat (50 x 6 mm) | KG KG KG KG | 350.00 350.00 350.00 350.00 |
| Iv | POWER CAPACITOR a Power capacitor for power factor improvement with oil filled with discharge resistance 3 phase 415/440V 50 HZ conforming to ISS 2384 with ISI marking | KVAR | 330.00 |

| Item No. | # Description | Unit | Rate Rs. |
| --- | --- | --- | --- |
|  | PART `H' |  |  |
| i. | CONDUIT MATERIALS 18 Gauge a Conduit pipe 16 mm (5/8") Heavy Gauge b Conduit pipe 19 mm (3/4") Heavy Gauge c Conduit pipe 25 mm (1") Heavy Gauge d Conduit pipe 32 mm (1¼") Heavy Gauge e Conduit pipe 38 mm (1½") Heavy Gauge | Metre Metre Metre Metre Metre | 23.00 25.00 31.00 43.00 52.00 |
| ii. | CONDUIT TEE BENDS a. Conduit Tee bends 16 mm (5/8") b Conduit Tee bends 19 mm (3/4") c Conduit Tee bends 25 mm (1") d Conduit Tee bends 32 mm (1¼") e Conduit Tee bends 38 mm (1½") f Conduit Tee bends 50 mm (2") | Dozen Dozen Dozen Dozen Dozen Dozen | 78.00 83.00 102.00 106.00 133.00 164.00 |
| iii. | CONDUIT BENDS 16 Gauge a Conduit solid bends 16 mm (5/8") b Conduit solid bends 19 mm (3/4") c Conduit solid bends 25 mm (1") d Conduit solid bends 32 mm (1¼") e Conduit solid bends 38 mm (1½") f Conduit solid bends 50 mm (2") | Dozen Dozen Dozen Dozen Dozen Dozen | 74.00 82.00 102.00 123.00 174.00 204.00 |
| Iv | CONDUIT INSPECTION BEND 16 Gauge a Conduit Inspection bends 16 mm (5/8") b Conduit Inspection bends 19 mm (3/4") c Conduit Inspection bends 25 mm (1") d Conduit Inspection bends 32 mm (1 ¼") | Dozen Dozen Dozen Dozen | 76.00 82.00 103.00 123.00 |

| Item No. | # Description | Unit | Rate Rs. |
| --- | --- | --- | --- |
|  | e Conduit Inspection bends 38mm (1½") f Conduit Inspection bends 50mm (2") g Conduit Inspection bends 65mm (2½") | Dozen Dozen Dozen | 164.00 185.00 235.00 |
|  | PART `I' |  |  |
| i. | PVC (RIGID) PIPES (1.8 MM THICK)WITH ISI MARK a PVC rigid pipes 16mm (5/8") b PVC rigid pipes 20mm (3/4") c PVC rigid pipes 25mm (1") d PVC rigid pipes 32mm (1¼") e PVC rigid pipes 40mm (1½") f PVC rigid pipes 50mm (2") | Metre Metre Metre Metre Metre Metre | 8.70 16.95 25.05 38.00 53.95 81.70 |
| ii. | PVC RIGID BENDS a PVC rigid bends 16mm (5/8") b PVC rigid bends 20mm (3/4") c PVC rigid bends 25mm (1") d PVC rigid bends 32mm (1¼") e PVC rigid bends 40mm (1½") f PVC rigid bends 50mm (2") | Each Each Each Each Each Each | 2.50 2.90 4.10 7.25 18.00 22.00 |
| iii. | PVC COUPLES a PVC Couples 16mm (5/8") b PVC Couples 19mm (3/4") c PVC Couples 25mm (1") d PVC Couples 32mm (1¼") e PVC Couples 38mm (1½") f PVC Couples 50mm (2") | Dozen Dozen Dozen Dozen Dozen Dozen | 12.50 12.50 24.00 56.25 120.00 125.00 |
| iv | PVC TEES a PVC Tees 16mm (5/8") b PVC Tees 19mm (3/4") c PVC Tees 25mm (1") d PVC Tees 32mm (1¼") e PVC Tees 38mm (1½") f PVC Tees 50mm (2") | Dozen Dozen Dozen Dozen Dozen Dozen | 12.50 15.00 18.75 84.00 273.75 298.75 |

| Item No. | # Description | Unit | Rate Rs. |
| --- | --- | --- | --- |
| v. | PVC SADDLES a PVC Saddles 16 mm (5/8") b PVC Saddles 19mm (3/4") c PVC Saddles 25mm (1") d PVC Saddles 32mm (1¼") e PVC Saddles 38mm (1½") f PVC Saddles 50mm (2") | Dozen Dozen Dozen Dozen Dozen Dozen | 1.85 2.50 3.10 3.75 5.00 10.00 |
| vi. | PVC JUNCTION BOXES a Junction boxes 1,2,3 & 4 way 16 mm (5/8") b Junction boxes 1,2,3 & 4 way 19 mm (3/4") c Junction boxes 1,2,3 & 4 way 25 mm (1") d Junction boxes 1,2,3 & 4 way 32 mm (1¼") e Junction boxes 1,2,3 & 4 way 38 mm (1½") | Dozen Dozen Dozen Dozen Dozen | 38.75 38.75 46.25 105.00 125.00 |
| vii. | PVC HYLEM SHEETS a Hylem sheet 3mm thick | Sq.m | 525.00 |
| Viii | INSULATION TAPE PVC a PVC Insulation tape (19 mm) c Empire tape (12 mm) d Empire tape (19 mm) | Roll/10 mts Roll/10 mts Roll/10 mts | 13.00 19.00 23.00 |
|  | PART `J' |  |  |
| I. | TEAK WOOD MATERIALS T.W. BOX CONCEALED TYPE a T.W. Box concealed type 12"x8"x3 b T.W.Box concealed type 8"x6"x3" c T.W. Box concealed type 6"x4"x3” d T.W. Box concealed type 4"x4"x3” e T.W. plugs 1½" x 1" x2" f T.W. Round blocks | Each Each Each Each 1000 nos 100 nos | 60.00 35.00 17.00 14.00 300.00 550.00 |

| Item No. | Description |  | Unit |  |  | Rate Rs. |
| --- | --- | --- | --- | --- | --- | --- |
|  | PART`K' |  |  |  |  |  |
| I. | CRIMPING LUGS SUITABLE FOR THE FOLLOWING SIZE |  |  |  |  |  |
|  | Size | Per | Aluminium |  |  | Copper |
| a b c d e f f g i j k l m n o p | 4.0 Sq.mm 6.0 Sq.mm 10.0 Sq.mm 16.0 Sq.mm 25.0 Sq.mm 35.0 Sq.mm 50.0 Sq.mm 70.0 Sq.mm 95.0 Sq.mm 120.0 Sq.mm 150.0 Sq.mm 185.0 Sq.mm 225.0 Sq.mm 240.0 Sq.mm 300.0 Sq.mm 400.0 Sq.mm | Each Each Each Each Each Each Each Each Each Each Each Each Each Each Each Each | 1.25 1.25 1.60 1.90 2.50 3.30 5.10 7.70 9.00 11.90 15.50 20.40 30.00 33.00 46.10 68.30 |  |  | 2.90 3.10 4.00 5.20 8.80 9.50 12.40 19.70 25.40 35.30 44.60 67.50 96.50 906.50 129.70 198.20 |
| v. | CABLE ROUTE INDICATOR a. Cable route indicator for LT cable b. Cable route indicator for HT cable |  | Each box Each box |  |  | 59.00 59.00 |
|  | PART`L' |  |  |  |  |  |
| i. ii. | BRASS SCREWS a.Brass Screws (20mm) ¾" No.6 b)Brass Screws (25mm) 1" No.6 c)Brass Screws (40mm) 1½" No.6 d)Brass Screws (20mm) 3/4" No.8 e)Brass Screws (25mm) 1" No.8 f))Brass Screws (50mm)2" No.10 g)Brass screws (75mm)3" No.10 Coach screws2"x¼" (50x6.25mm) |  | Gross Gross Gross Gross Gross Gross Gross Dozen |  |  | 50.00 54.00 64.00 50.00 54.00 135.00 210.00 12.00 |
| iii. | CONDUIT SADDLES a Conduit Saddles 16mm (5/8") b Conduit Saddles 19mm (3/4") c Conduit Saddles 25mm (1") d Conduit Saddles 32mm (1¼") e Conduit Saddles 38mm (1½") f Conduit Saddles 50mm (2") - Conduit Saddles 65mm (2½") |  |  | Gross Gross Gross Gross Gross Gross Gross | 36.00 39.00 47.00 64.00 76.00 90.00 101.00 |  |
| iv.a. | SODIUM VAPOUR FITTINGS & LAMP (For External Electrification & Campus lighting) a 250 Watts Sodium Vapour fittings b 250 Watts Sodium Vapour lamp c 150 Watts Sodium Vapour fittings d 150 Watts Sodium Vapour lamp e 70 Watts Sodium Vapour fittings f 70 Watts Sodium Vapour lamp |  |  | Each Each Each Each Each Each | 2889.00 856.00 2515.00 610.00 2301.00 482.00 |  |
| v.b | SODIUM VAPOUR LAMP FITTING SINGLE PIEC DIECAST ALUMINIUM HOUSING & LAMP FOR HEAVY TRAFFIC ROADS (PHILIPS/ CROMPTION CREAVES WIPRO/BAJAJ) a 400 Watts sodium vapour fittings b 400 Watts sodium vapour lamp c 250 Watts sodium vapour fittings d 250 Watts sodium vapour lamp e 150 Watts sodium vapour fittings f 150 Watts sodium vapour lamp g 70 Watts sodium vapour fittings - 70 Watts sodium vapour lamps |  |  | Each Each Each Each Each Each Each Each | 6880.00 985.00 5590.00 800.00 4550.00 660.00 2840.00 490.00 |  |

| Item No. | # Description |  |  |  |  | Unit | Rate Rs. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| vi. vii. | MINIATURE CIRCUIT BREAKERS 240V/415 V 50KZ-AC SUPPLY SUITABLE FOR BOTH LIGHTING AND MOTOR CIRCUITS a Single pole 6A to 32A,10 KA Each b Single pole 40A , 10 KA Each c Single pole & Neutral 6A to 32A, 10 KA Each d Single pole & Neutral 40A, 10 KA Each e Double pole 6A to 32A, 10 KA Each f Double pole 40A, 10 KA Each g Triple pole 6A to 32A, 10 KA Each h Trible pole 63A , 10 KA Each i Trible pole & Neutral 6A to 32A, 10 KA Each j Trible pole & Neutral 63A, 10 KA Each k Four pole 6A to 32A, 10 KA Each l Four pole 63A, 10 KA Each MCB ISOLATORS Legrand(MDS)/Hagger(L&T) All other ISI |  |  |  |  | “Legrand” /Hagger 172.00 350.00 494.00 800.00 494.00 800.00 795.00 1232.00 1058.00 1584.00 1058.00 1584.00 make with ISI | All other makes With ISI(Standard/ HPL /havells/ equivalent) 126.00 260.00 378.00 522.00 414.00 570.00 621.00 999.00 810.00 1260.00 891.00 1332.00 (Standard)/HPL/Havlls/equivalent |  |
| a. | 32A Each | DP 282.00 | TP 470.00 | FP 538.00 | DP - | TP - | FP - |  |
| b. c. d. | 40A Each 63A Each 100A Each | 302.00 404.00 ---- | 518.00 602.00 624.00 | 674.00 740.00 782.00 | 243.00 305.00 405.00 | 441.00 495.00 635.00 | 549.00 575.00 750.00 |  |
| viii. | PLUG AND SOCKETS IN SHEET STEEL ENCLOSURE WIHTOUT MCBS a 10A single Pole Each b. 20A Single pole Each c 20A Double Pole Each d 20A Triple Pole Each e 32A Triple Pole Each f 62A triple pole Each |  |  |  |  | “Legrand” MDS /Hagger(L&T) 870.00 934.00 980.00 1724.00 2040.00 8410.00 | All other ISI makes with ISI (Standard/ HPL/Havells/equivale 505.00 510.00 -- 965.00 1305.00 -- |  |

| Item No. | # Description |  | Unit |  | Rate Rs. |
| --- | --- | --- | --- | --- | --- |
| ix. | - RCCB/ELCB a 10 Amps 30 MA DP Each b 25 Amps 30 MA DP Each c 40 Amps 30 MA DP Each | 2074.00 2074.00 2284.00 |  | -- 1585.00 1680.00 |  |
| ix x. | 2. RCCB/ELCB (FOUR POLE) a.25 Amps 30 MA Each b.40 Amps 30 MA Each c.63 Amps 30 MA Each HRC FUSES a 16 Amps Each b 32 Amps Each c 63 Amps Each d 125 Amps Each e 160 Amps Each f. 200 Amps Each g 250 Amps Each | 2935.00 2980.00 3554.00 56.00 58.00 120.00 280.00 350.00 360.00 500.00 |  | 1945.00 1995.00 2275.00 30.00 50.00 63.00 140.00 189.00 189.00 279.00 |  |

XI	VERTICAL THREE PHASE DISTRIBUTION BOARD WITH MCBS

4 Way/8 way/12 Way Vertical TPMCB sheet steel distribution boards Flush type/Surface type fitted with Bus bars and Neutral links with single phase/Three phase MCB out going and separate 4 way provision for accommodating one No. 4 pole incoming MCB /Isolator and another separate 4 way provision for accommodating one No. 4 pole ELCB/RCD with label holder and provisions for taking up cable of size not less than 35 sq.mm

I.	MODULE TYPE WITH IP 20 PROTECTION

| Description | No. of ways incomer MCB/Isolator | No. of ways incomer ELCB/RCD | No.of outgoing ways | Legrand (MDS) /HAGER ( L & T) Rate in Rs. | All other makes with ISI mark (STANDARD/HPL /equivalent) Rate in Rs. |
| --- | --- | --- | --- | --- | --- |
| 4 Ways 3 Phase DB | 4 | 4 | 12 | Rs.4120/- | Rs.2,885/- |
| 8 Ways 3 Phase DB | 4 | 4 | 24 | Rs.5082/- | Rs.3,880/- |
| 12 Ways 3 Phase DB | 4 | 4 | 36 | Rs.7398/- | Rs.4,870/- |

# II.TPMCB DB WITH METAL/ACRYLIC DOOR COVER WITH IP 42 PROTECTION

| Description | No. of ways incomer MCB/Isolator | No. of ways incomer ELCB/RCD | No.of outgoing ways | Legrand (MDS)/ HAGER (L&T) |  | All other makes with ISI mark with metal door (Standard /HPL/equivalent) (Rate in Rupees) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | With metal Door (Rate in Rupees) | With ACRYLIC door (Rates in Rupees) |  |
| 4 Ways 3 Phase DB | 4 | 4 | 12 | 4,960/- | 5,460/- | 3,915/- |
| 8 Ways 3 Phase DB | 4 | 4 | 24 | 6,282/- | 6,938/- | 5,040/- |
| 12 Ways 3 Phase DB | 4 | 4 | 36 | 8,410/- | 9,258/- | 6,390/- |

# III.INDUSTRIAL TYPE TPMCB DB WITH IP 54 PROTECTION

| Description | No. of ways incomer MCB/Isolator | No. of ways incomer ELCB/RCD | No.of outgoing ways | Legrand (MDS) /HAGER ( L & T) Rate in Rs. |
| --- | --- | --- | --- | --- |
| 4 Ways 3 Phase DB | 4 | 4 | 12 | Rs.8,485/- |
| 8 Ways 3 Phase DB | 4 | 4 | 24 | Rs.10,298/- |
| 12 Ways 3 Phase DB | 4 | 4 | 36 | Rs.13,718/- |

XII.	HORIZONTAL THREE PHASE DISTRIBUTION BOARD WITH MCBS

4 Way/8 way/12 Way  TPMCB sheet steel distribution boards Flush type/Surface type fitted with Bus bars and Neutral links with single phase/Three phase MCB out going and separate 4 way provision for accommodating one No. 4 pole incoming MCB /Isolator and another separate 4 way provision for accommodating one No. 4 pole ELCB/RCD with label holder and provisions for taking up cable of size not less than 35 sq.mm

- MODULE TYPE WITH IP 20 PROTECTION

| Description | No. of ways incomer MCB/Isolator | No. of ways incomer ELCB/RCD | No.of outgoing ways | Legrand (MDS) /HAGER ( L & T) Rate in Rs. | All other makes with ISI mark (STANDARD/HPL /equivalent ) Rate in Rs. |
| --- | --- | --- | --- | --- | --- |
| 4 Ways 3 Phase DB | 4 | 4 | 12 | Rs.1532/- | Rs.920/- |
| 6 Ways 3 Phase DB | 4 | 4 | 18 | Rs.1,898/- | Rs.1150/- |
| 8 Ways 3 Phase DB | 4 | 4 | 24 | Rs.2,256/- | Rs.1395/- |
| 12 Ways 3 Phase DB | 4 | 4 | 36 | Rs.3,356/- | Rs.1905/- |

# II.TPMCB DB WITH METAL/ACRYLIC DOOR COVER WITH IP 42 PROTECTION

| Description | No. of ways incomer MCB/Isolator | No. of ways incomer ELCB/RCD | No.of outgoing ways | Legrand (MDS)/ HAGER (L&T) |  | All other makes with ISI mark with metal door (STANDARD/HPL Equivalent) (Rate in Rupees) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | With metal Door (Rate in Rupees) | With ACRYLIC door (Rates in Rupees) |  |
| 4 Ways 3 Phase DB | 4 | 4 | 12 | 2080/- | 2328/- | 1585/- |
| 6 Ways 3 Phase DB | 4 | 4 | 18 | 2568/- | 2868/- | 2005/- |
| 8 Ways 3 Phase DB | 4 | 4 | 24 | 3076/- | 3410/- | 2475/- |
| 12 Ways 3 Phase DB | 4 | 4 | 36 | 4536/- | 5194/- | 3350/- |

# III.INDUSTRIAL TYPE TPMCB DB WITH IP 54 PROTECTION

| Description | No. of ways incomer MCB/Isolator | No. of ways incomer ELCB/RCD | No.of outgoing ways | Legrand (MDS) /HAGER ( L & T) Rate in Rs. |
| --- | --- | --- | --- | --- |
| 4 Ways 3 Phase DB | 4 | 4 | 12 | Rs.5148/- |
| 6 Ways 3 Phase DB | 4 | 4 | 18 | Rs.6195/- |
| 8 Ways 3 Phase DB | 4 | 4 | 24 | Rs.6776/- |
| 12 Ways 3 Phase DB | 4 | 4 | 36 | Rs.9468/- |

XIII	7 SEGMENT (3 TIER) 3 PHASE  DISTRIBUTION BOARD WITH MCBS

4 Way/6 way/8 way/12 Way 7 SEGMENT TPMCB sheet steel distribution boards Flush type/Surface type fitted with Bus bars and Neutral links with single phase/Three phase MCB out going in 3 segments and separate 4 ways provision for accommodating one No. 4 pole incoming MCB /Isolator and another separate 4 way provision for accommodating one No. 4 pole ELCB/RCD (Totally 8 ways in one segment) and separate provision for MCB /IsolatorTotally 12 ways ) for sub incomers in 3 segments (3 x 4 ways in each segment)  with label holder and provisions for taking up cable of size not less than 35 sq.mm

- MODULE TYPE WITH IP 20 PROTECTION

| Description | No. of ways incomer MCB/Isolator | No. of ways incomer ELCB/RCD | No.of Sub incomers | No. of out going ways | Legrand (MDS) /HAGER ( L & T) Rate in Rs. |
| --- | --- | --- | --- | --- | --- |
| 4 Ways 3 Phase DB | 4 | 4 | 12 | 12 | Rs.4202/- |
| 6 Ways 3 Phase DB | 4 | 4 | 12 | 18 | Rs.4576/- |
| 8 Ways 3 Phase DB | 4 | 4 | 12 | 24 | Rs.4858/- |
| 12 Ways 3 Phase DB | 4 | 4 | 12 | 36 | Rs.5595/- |

# II.TPMCB DB WITH METAL DOOR COVER WITH IP 42 PROTECTION

| Description | No. of ways incomer MCB/Isolator | No. of ways incomer ELCB/RCD | No.of Sub incomers | No. of out going ways | Legrand (MDS) /HAGER ( L & T) Rate in Rs. |
| --- | --- | --- | --- | --- | --- |
| 4 Ways 3 Phase DB | 4 | 4 | 12 | 12 | Rs.4898/- |
| 6 Ways 3 Phase DB | 4 | 4 | 12 | 18 | Rs.5522/- |
| 8 Ways 3 Phase DB | 4 | 4 | 12 | 24 | Rs.6164/- |
| 12 Ways 3 Phase DB | 4 | 4 | 12 | 36 | Rs.7828/- |

XIV	SINGLE PHASE  DISTRIBUTION BOARD WITH MCBS

4 Way/8 way/12 Way SPMCB sheet steel distribution boards Flush type/Surface type fitted with Bus bars and Neutral links with single phase MCB out going and separate 2 way provision for accommodating one No. 2 pole incoming MCB /Isolator and another separate 2 way provision for accommodating one No,  2 pole ELCB/RCD with label holder and provisions for taking up cable of size not less than 35 sq.mm

1.	MODULE TYPE WITH IP 20 PROTECTION

| Description | No. of ways incomer MCB/Isolator | No. of ways incomer ELCB/RCD | No.of outgoing ways | Legrand (MDS) /HAGER ( L & T) Rate in Rs. | All other makes with ISI mark (STANDARD/HPL/ equivalent) Rate in Rs. |
| --- | --- | --- | --- | --- | --- |
| 4 Ways 1 Phase DB | 2 | 2 | 4 | Rs.702/- | Rs.333/- |
| 8 Ways 1 Phase DB | 2 | 2 | 8 | Rs.838/- | Rs.423/- |
| 12 Ways 1 Phase DB | 2 | 2 | 12 | Rs.1034/- | Rs.576/- |

###### II. SPMCB DB WITH METAL/ACRYLIC DOOR COVER WITH IP 42 PROTECTION

| Description | No. of ways incomer MCB/Isolator | No. of ways incomer ELCB/RCD | No.of outgoing ways | Legrand (MDS)/ HAGER (L&T) |  | All other makes with ISI mark with metal door (STANDARD/HPL /equivalent(Rate in Rupees) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | With metal Door (Rate in Rupees) | With ACRYLIC door (Rates in Rupees) |  |
| 4 Ways 1 Phase DB | 2 | 2 | 4 | 1024/- | 1142/- | 585/- |
| 8 Ways 1 Phase DB | 2 | 2 | 8 | 1240/- | 1384/- | 795/- |
| 12 Ways 1 Phase DB | 2 | 2 | 12 | 1534/- | 1712/- | 1025/- |

# III.INDUSTRIAL TYPE SPMCB DB WITH IP 54 PROTECTION

| Description | No. of ways incomer MCB/Isolator | No. of ways incomer ELCB/RCD | No.of outgoing ways | Legrand (MDS) /HAGER ( L & T) Rate in Rs. |
| --- | --- | --- | --- | --- |
| 4 Ways 1 Phase DB | 2 | 2 | 4 | Rs.2540/- |
| 8 Ways 1 Phase DB | 2 | 2 | 8 | Rs.2928/- |
| 12 Ways 1 Phase DB | 2 | 2 | 12 | Rs.3245/- |

NOTE

1.	The basic rates for both material and labour should be followed for cities and municipal towns only and for works outside city and municipal towns extra at 10 (Ten) percent should be added to the basic rates for both materials and labour.

2.	DGS&D rate contract should be adopted for bulk purchases wherever the same is applicable

3.	Extra 20% (twenty)  of cost towards labour is permitted for hIlls areas

- Extra 10% (ten) of cost towards labour only is permitted for the jail premises.