|  | SINGLE PHASE PANEL BOARD WITH TWO LEVEL GUARD AND AUTO START FOR THE YEAR 2008-09 |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Sl. No. |  | HP |  |  | Unit |  |  | Basic rate excluding excise duty and taxes etc., Rs. |  |  |
|  | 1 |  | 2 |  |  | 3 |  |  | 4 |  |  |
|  | 1 |  | 1 |  |  | 1 No |  |  | 3093.00 |  |  |
|  | 2 |  | 1.5 |  |  | 1 No |  |  | 3405.00 |  |  |
|  | 3 |  | 2 |  |  | 1 No |  |  | 4125.00 |  |  |
|  | Note: Excise duty 'Nil'. |  |  |  |  |  |  |  |  |  |  |
|  | TNVAT at 4% extra over the above basic price. The above rate is inclusive of two level guard worth Rs.550/- and Auto Start facility worth Rs.400/-. Timer is not recommended for this panel board. |  |  |  |  |  |  |  |  |  |  |
|  | Panel board should be provided as per specification given in Board Circular No.23/ DCE/ Qata/ 2004/dt. 23.8.2004. |  |  |  |  |  |  |  |  |  |  |
|  | 3 PHASE PANEL BOARD - D.O.L. WITH TWO LEVEL GUARD AND AUTO START FOR THE YEAR 2008-09 |  |  |  |  |  |  |  |  |  |  |
|  | Sl. No. | HP |  |  | Unit |  | Basic rate excluding excise duty and taxes etc., Rs. |  |  |  |  |
|  | 1 | 2 |  |  | 3 |  | 4 |  |  |  |  |
|  | 1 | 1 |  |  | 1 No |  | 7390.00 |  |  |  |  |
|  | 2 | 2 |  |  | 1 No |  | 7437.00 |  |  |  |  |
|  | 3 | 3 |  |  | 1 No |  | 7635.00 |  |  |  |  |
|  | 4 | 4 |  |  | 1 No |  | 7635.00 |  |  |  |  |
|  | 5 | 5 |  |  | 1 No |  | 7635.00 |  |  |  |  |
|  | 6 | 6 |  |  | 1 No |  | 7635.00 |  |  |  |  |
|  | Note: Excise duty 'Nil'. |  |  |  |  |  |  |  |  |  |  |
|  | 1) TNVAT at 4% extra over the above basic price. 2) The above rate is inclusive of two level guard worth Rs.550/- and Auto Start facility worth Rs.400/-. 3) For Timer facility if necessary Rs. 4000 may be added extra. 4) Panel board should be provided as per specification given in Board Circular No.26/ F.13/HOTC/DCE/Qata/2004-2/dt. 22.9.2004. |  |  |  |  |  |  |  |  |  |  |
| 3 PHASE PANEL BOARD - STAR DELTA WITH TWO LEVEL GUARD AND AUTO START FOR THE YEAR 2008-09 |  |  |  |  |  |  |  |  |  |  |  |
| Sl. No. |  |  |  | HP |  |  |  | Unit |  | Basic rate excluding excise duty and taxes etc., Rs. |  |
| 1 |  |  |  | 2 |  |  |  | 3 |  | 4 |  |
| 1 |  |  |  | 6 |  |  |  | 1 No |  | 9783.00 |  |
| 2 |  |  |  | 7.5 |  |  |  | 1 No |  | 10108.00 |  |
| 3 |  |  |  | 10 |  |  |  | 1 No |  | 12332.00 |  |
| 4 |  |  |  | 12.5 |  |  |  | 1 No |  | 12804.00 |  |
| 5 |  |  |  | 15 |  |  |  | 1 No |  | 14394.00 |  |
| 6 |  |  |  | 20 |  |  |  | 1 No |  | 17452.00 |  |
| Note: Excise duty 'Nil'. |  |  |  |  |  |  |  |  |  |  |  |
| 1) TNVAT at 4% extra over the above basic price. 2) The above rate is inclusive of two level guard worth Rs.550/- and Auto Start facility worth Rs.400/-. |  |  |  |  |  |  |  |  |  |  |  |
| 3) For Timer facility if necessary Rs. 4000 may be added extra. 4) Panel board should be provided as per specification given in Board Circular No.26/ F.13/HOTC/DCE/Qata/2004-2/dt. 22.9.2004. |  |  |  |  |  |  |  |  |  |  |  |

| HORIZONTAL SPLIT CASING CENTRIFUGAL PUMP (1500 RPM) (Bronze impeller & SS 410 shaft) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | (Rs.in lakhs) per each |  |  |  |  |  |  |  |
| Sl. No. | Capacity in LPM | Head in Metres |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Total rate including excise duty, sales tax, transportation, handling charges etc. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 25m | 30m | 35m |  | 40m |  | 45m |  |  | 50m |  | 55m |  | 60m |  |  | 70m |  | 80m |  | 90m |  |
| 1 | 2 | 3 | 4 | 5 |  | 6 |  | 7 |  |  | 8 |  | 9 |  | 10 |  |  | 11 |  | 12 |  | 13 |  |
| 1 | 1500 | -- | 0.87 | -- |  | -- |  | -- |  |  | -- |  | -- |  | -- |  |  | -- |  | -- |  | -- |  |
| 2 | 2500 | 0.87 | 0.87 | 1.09 |  | 1.09 |  | 1.56 |  |  | -- |  | -- |  | -- |  |  | -- |  | -- |  | -- |  |
| 3 | 3000 | 0.87 | 0.87 | 1.09 |  | 1.09 |  | 1.56 |  |  | -- |  | -- |  | -- |  |  | -- |  | -- |  | -- |  |
| 4 | 3500 | 0.87 | 0.87 | 1.09 |  | 1.09 |  | 1.56 |  |  | 1.76 |  | 1.90 |  | -- |  |  | -- |  | -- |  | -- |  |
| 5 | 4000 | 1.09 | 1.09 | 1.09 |  | 1.09 |  | 1.56 |  |  | 1.76 |  | 1.90 |  | -- |  |  | -- |  | -- |  | -- |  |
| 6 | 5000 | 1.09 | 1.09 | 1.09 |  | 1.21 |  | 1.56 |  |  | 1.76 |  | 1.90 |  | 1.90 |  |  | -- |  | -- |  | -- |  |
| 7 | 6000 | 1.09 | 1.09 | 1.64 |  | 1.64 |  | 1.64 |  |  | 1.76 |  | 2.50 |  | 2.50 |  |  | 3.71 |  | -- |  | --- |  |
| 8 | 7000 | 1.61 | 1.64 | 1.64 |  | 1.64 |  | 2.61 |  |  | 2.61 |  | 2.61 |  | 2.61 |  |  | 3.71 |  | 3.96 |  | -- |  |
| 9 | 8000 | 1.64 | 1.64 | 1.64 |  | 1.64 |  | 2.61 |  |  | 2.61 |  | 2.61 |  | 2.61 |  |  | 3.71 |  | -- |  | -- |  |
| 10 | 9000 | 1.82 | 1.82 | 2.61 |  | 2.61 |  | 2.61 |  |  | 2.61 |  | 2.78 |  | 3.96 |  |  | 3.96 |  | -- |  | -- |  |
| 11 | 10000 | 1.82 | 1.82 | 2.78 |  | 2.78 |  | 2.78 |  |  | 2.78 |  | 2.78 |  | 3.96 |  |  | 4.54 |  | 4.54 |  | 4.54 |  |
| 12 | 15000 | 2.78 | 2.78 | 2.78 |  | 2.78 |  | 2.78 |  |  | 2.78 |  | 3.03 |  | 3.96 |  |  | 4.54 |  | 4.54 |  | 4.54 |  |
| 13 | 20000 | 4.25 | 4.32 | 5.32 |  | 5.32 |  | 5.32 |  |  | 5.32 |  | 5.32 |  | 5.32 |  |  | 5.32 |  | 5.32 |  | 5.32 |  |
| 14 | 25000 | 5.20 | 5.32 | 5.32 |  | 5.32 |  | 5.32 |  |  | 5.32 |  | 5.32 |  | 5.32 |  |  | 5.32 |  | 5.32 |  | 5.32 |  |
| 15 | 30000 | 5.29 | 5.49 | 5.75 |  | 5.75 |  | 5.75 |  |  | 5.75 |  | 5.75 |  | 7.59 |  |  | 7.59 |  | -- |  | -- |  |
| Note: 1) The price is inclusive of MS base plate, flexible tyre coupling and foundation bolts. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2) The Price is inclusive of all taxes and F.O.R. destination. 3) Efficiency may be taken from universal curve for calculation of motor HP, otherwise manufacturers may be consulted for efficiency curve. 4) NPSH requirement should be assessed and sump should be designed accordingly 5) Excise duty – 14.42%, VAT 4%. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| HORIZONTAL SQUIRREL CAGE INDUCTION MOTOR 1500 RPM |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| AC3 PHASE/415V/HORIZONTAL SPDP 4 POLE SQUIRREL CAGE INDUCTION MOTOR FOR HSC CENTRIFUGAL PUMPS |  |  |  |  |  |  |  |  |
| Sl. No. |  | KW |  | HP |  | Total Rate including excise duty, sales tax, handling charges etc., Rs. |  |  |
| 1 |  | 2 |  | 3 |  | 4 |  |  |
| 1 |  | 9.3 |  | 12.5 |  | 31145.00 |  |  |
| 2 |  | 11 |  | 15 |  | 32823.00 |  |  |
| 3 |  | 15 |  | 20 |  | 40809.00 |  |  |
| 4 |  | 18.5 |  | 25 |  | 57818.00 |  |  |
| 5 |  | 22 |  | 30 |  | 60937.00 |  |  |
| 6 |  | 30 |  | 40 |  | 68680.00 |  |  |
| 7 |  | 37 |  | 50 |  | 87366.00 |  |  |
| 8 |  | 45 |  | 60 |  | 111077.00 |  |  |
| 9 |  | 55 |  | 75 |  | 136726.00 |  |  |
| 10 |  | 75 |  | 100 |  | 170102.00 |  |  |
| 11 |  | 90 |  | 120 |  | 194630.00 |  |  |
| 12 |  | 110 |  | 150 |  | 239119.00 |  |  |
| 13 |  | 125 |  | 170 |  | 260699.00 |  |  |
| 14 |  | 132 |  | 180 |  | 276978.00 |  |  |
| 15 |  | 150 |  | 200 |  | 340149.00 |  |  |
| 16 |  | 160 |  | 215 |  | 362248.00 |  |  |
| 17 |  | 180 |  | 240 |  | 362248.00 |  |  |
| 18 |  | 187 |  | 250 |  | 398850.00 |  |  |
| 19 |  | 200 |  | 270 |  | 398850.00 |  |  |
| 20 |  | 220 |  | 300 |  | 478673.00 |  |  |
| 21 |  | 250 |  | 335 |  | 574460.00 |  |  |
| 22 |  | 280 |  | 375 |  | 756355.00 |  |  |
| 23 |  | 300 |  | 400 |  | 811458.00 |  |  |
| Note: The above rate is inclusive of excise duty, taxes etc., Excise duty at 14.42%, VAT at 4% |  |  |  |  |  |  |  |  |
| HORIZONTAL SQUIRREL CAGE INDUCTION MOTOR 1000 RPM |  |  |  |  |  |  |  |  |
| AC3 PHASE/415V/HORIZONTAL SPDP 6 POLE SQUIRREL CAGE INDUCTION MOTOR FOR HSC CENTRIFUGAL PUMPS |  |  |  |  |  |  |  |  |
| Sl. No. | KW |  | HP |  | Total Rate including excise duty, sales tax, handling charges etc., Rs. |  |  |  |
| 1 | 2 |  | 3 |  | 4 |  |  |  |
| 1 | 9.3 |  | 12.5 |  | 39884.00 |  |  |  |
| 2 | 11 |  | 15 |  | 41910.00 |  |  |  |
| 3 | 15 |  | 20 |  | 59065.00 |  |  |  |
| 4 | 18.5 |  | 25 |  | 69755.00 |  |  |  |
| 5 | 22 |  | 30 |  | 89786.00 |  |  |  |
| 6 | 30 |  | 40 |  | 111994.00 |  |  |  |
| 7 | 37 |  | 50 |  | 139986.00 |  |  |  |
| 8 | 45 |  | 60 |  | 172447.00 |  |  |  |
| 9 | 55 |  | 75 |  | 197566.00 |  |  |  |
| 10 | 75 |  | 100 |  | 237137.00 |  |  |  |
| 11 | 90 |  | 120 |  | 268995.00 |  |  |  |
| 12 | 110 |  | 150 |  | 345377.00 |  |  |  |
| 13 | 125 |  | 170 |  | 410925.00 |  |  |  |
| 14 | 132 |  | 180 |  | 410925.00 |  |  |  |
| 15 | 150 |  | 200 |  | 438640.00 |  |  |  |
| 16 | 160 |  | 215 |  | 473057.00 |  |  |  |
| 17 | 180 |  | 240 |  | 662039.00 |  |  |  |
| 18 | 187 |  | 250 |  | 672628.00 |  |  |  |
| 19 | 200 |  | 270 |  | 728035.00 |  |  |  |
| 20 | 220 |  | 300 |  | 823580.00 |  |  |  |
| 21 | 250 |  | 335 |  | 922000.00 |  |  |  |
| Note: The above rate is inclusive of excise duty, taxes etc., Excise duty at 14.42%, VAT at 4%. |  |  |  |  |  |  |  |  |

| VERTICAL TURBINE PUMP (WATER LUBRICATED) 1500RPM SUITABLE FOR VERTICAL HOLLOW SHAFT SQUIRREL CAGE INDUCTION MOTOR |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | (Rs.in lakhs) Per Each |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sl. No. | Capa-city in LPM | Head in Metres |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Total rate including excise duty, sales tax, transportation, handling charges etc. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 15m |  | 20m |  | 30m |  | 40m |  |  | 50m |  |  | 60m |  |  | 70m |  | 80m |  | 90m |  | 100m |  |  |  |  |  |  |
| 1 | 2 | 3 |  | 4 |  | 5 |  | 6 |  |  | 7 |  |  | 8 |  |  | 9 |  | 10 |  | 11 |  | 12 |  |  |  |  |  |  |
| 1 | 1500 | 0.99 |  | 0.99 |  | 1.06 |  | 1.06 |  |  | 1.10 |  |  | 1.13 |  |  | 1.19 |  | 1.19 |  | 1.32 |  | 1.39 |  |  |  |  |  |  |
| 2 | 2000 | 1.98 |  | 2.24 |  | 2.72 |  | 3.04 |  |  | 3.36 |  |  | 3.56 |  |  | 3.56 |  | 3.70 |  | 3.70 |  | 3.96 |  |  |  |  |  |  |
| 3 | 3000 | 2.56 |  | 2.88 |  | 3.19 |  | 3.43 |  |  | 3.50 |  |  | 3.56 |  |  | 3.70 |  | 3.83 |  | 3.96 |  | 4.09 |  |  |  |  |  |  |
| 4 | 4000 | 2.88 |  | 3.19 |  | 3.51 |  | 3.85 |  |  | 4.09 |  |  | 4.09 |  |  | 4.22 |  | 4.49 |  | 4.62 |  | 4.62 |  |  |  |  |  |  |
| 5 | 5000 | 3.77 |  | 3.83 |  | 4.09 |  | 4.29 |  |  | 4.55 |  |  | 4.55 |  |  | 4.75 |  | 4.82 |  | 4.88 |  | 5.02 |  |  |  |  |  |  |
| 6 | 6000 | 3.83 |  | 3.83 |  | 4.09 |  | 4.29 |  |  | 4.55 |  |  | 4.55 |  |  | 4.75 |  | 4.82 |  | 4.88 |  | 5.02 |  |  |  |  |  |  |
| 7 | 7000 | 3.83 |  | 3.83 |  | 4.09 |  | 4.29 |  |  | 4.55 |  |  | 4.55 |  |  | 4.88 |  | 4.88 |  | 4.88 |  | 5.02 |  |  |  |  |  |  |
| 8 | 8000 | 4.09 |  | 4.16 |  | 4.29 |  | 4.49 |  |  | 4.62 |  |  | 4.62 |  |  | 4.88 |  | 4.88 |  | 4.88 |  | 5.02 |  |  |  |  |  |  |
| 9 | 10000 | 4.09 |  | 4.16 |  | 4.29 |  | 4.49 |  |  | 4.62 |  |  | 4.75 |  |  | 4.88 |  | 4.88 |  | 5.02 |  | 5.02 |  |  |  |  |  |  |
| 10 | 15000 | 4.62 |  | 4.62 |  | 4.62 |  | 4.75 |  |  | 5.02 |  |  | 5.02 |  |  | 5.15 |  | 5.41 |  | 5.54 |  | 5.67 |  |  |  |  |  |  |
| 11 | 20000 | 5.28 |  | 5.41 |  | 5.68 |  | 5.81 |  |  | 6.07 |  |  | 6.60 |  |  | 7.26 |  | 7.52 |  | 8.58 |  | 10.43 |  |  |  |  |  |  |
| 12 | 25000 | 5.28 |  | 5.41 |  | 5.68 |  | 5.81 |  |  | 6.07 |  |  | 6.60 |  |  | 7.26 |  | 7.52 |  | 8.58 |  | 10.43 |  |  |  |  |  |  |
| 13 | 30000 | 9.44 |  | 9.90 |  | 10.45 |  | 11.22 |  |  | 11.22 |  |  | 11.88 |  |  | 11.88 |  | 13.20 |  | 13.20 |  | 14.52 |  |  |  |  |  |  |
|  | i) The above prices are including excise duty at14.42%, VAT 4% and handling charges etc., |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ii) Multiply with 1.15 for oil lubricated pumps (for raw water) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | iii) Prices given are with suspension length of 7m, bronze impeller, SS 401 shaft, MS column pipe, discharge case & CI bell mouth |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| VERTICAL H.S. MOTORS FOR TURBINE PUMP |  |  |  |
| --- | --- | --- | --- |
| AC3 PHASE/ 415V/VERTICAL HALLOW SHAFT TEFC & SPDP 4 POLE SQUIRREL CAGE INDUCTION MOTOR 1500RPM |  |  |  |
| Sl.No. | KW | HP | Total Rate including excise duty, sales tax, handling charges etc., per each Rs. |
| 1 | 2 | 3 | 4 |
|  | TEFC MOTORS |  |  |
| 1 | 18.5 | 25 | 145905.00 |
| 2 | 22 | 30 | 156207.00 |
| 3 | 30 | 40 | 167706.00 |
| 4 | 37 | 50 | 175453.00 |
| 5 | 45 | 60 | 187112.00 |
|  | SPDP MOTORS |  |  |
| 6 | 55 | 75 | 232247.00 |
| 7 | 75 | 100 | 307701.00 |
| 8 | 90 | 120 | 321356.00 |
| 9 | 110 | 150 | 448015.00 |
| 10 | 125 | 170 | 458317.00 |
| 11 | 132 | 180 | 600388.00 |
| 12 | 150 | 200 | 657169.00 |
| 13 | 160 | 215 | 708279.00 |
| 14 | 180 | 240 | 735750.00 |
| 15 | 187 | 250 | 744614.00 |
| 16 | 200 | 270 | 830863.00 |
| 17 | 220 | 300 | 866322.00 |
| 18 | 250 | 335 | 929251.00 |
| 19 | 280 | 375 | 1059902.00 |
| 20 | 300 | 400 | 1127783.00 |
| Note: The above rate is inclusive of excise duty, taxes etc., Excise duty at 14.42%, VAT at 4% |  |  |  |

| IRON CORE OIL COOLED TRANSFORMERS WITH COPPER WINDING CONFORMING TO IS 2026 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sl.No. | KVA | Basic rate excluding excise duty, sales tax, handling charges etc., per each Rs. |  |  |
|  |  | 11KV | 22KV | 11/22KV |
| 1 | 2 | 3 | 4 | 5 |
| 1 | 160 | 196629.00 | 211135.00 | 211135.00 |
| 2 | 200 | 255738.00 | 271253.00 | 283663.00 |
| 3 | 250 | 285000.00 | 324489.00 | 333304.00 |
| 4 | 315 | 323156.00 | 345169.00 | 358124.00 |
| 5 | 400 | 375000.00 | 413084.00 | 413409.00 |
| Note: Excise duty at 14.42% and TNVAT at 4% extra |  |  |  |  |

| OIL NATURAL AND AIR NATURAL COOLED COPPER WINDING H.T. TRANSFORMER CONFORMING TO IS 2026 |  |  |  |
| --- | --- | --- | --- |
| Sl. No. | Rating in KVA | Basic rate excluding excise duty, sales tax, handling charges etc., per each Rs. |  |
|  |  | 11KV/ 433 V | 22KV/ 433 V |
| 1 | 2 | 3 | 4 |
| 1 | 500 | 485773.00 | 524776.00 |
| 2 | 630 | 585055.00 | 626028.00 |
| 3 | 800 | 731843.00 | 794157.00 |
| 4 | 1000 | 859912.00 | 967999.00 |
| Note: Excise duty at 14.4% and TNVAT at 4% extra |  |  |  |

| FLEX COMPENSATED MAGNETIC AMPLIFIER SOFT STARTER SUITABLE FOR L.T. SQUIRREL CAGE MOTOR |  |  |  |
| --- | --- | --- | --- |
| Sl.No. | KW Rating | Net Rate including excise duty, sales tax, handling charges etc., per each Rs. |  |
| 1 | 2 | 3 |  |
| 1 | 76 to 135 | 259908.00 |  |
| 2 | 136 to 160 | 276408.00 |  |
| 3 | 161 to 250 | 355344.00 |  |
| 4 | 251 to 300 | 462792.00 |  |
| 5 | 301 to 500 | 717156.00 |  |
| 6 | 501 to 750 | 842160.00 |  |
| Note: 1) The rate is inclusive of excise duty, taxes etc. |  |  |  |
| 2) DOL Starters are to be adopted upto 6 HP |  |  |  |
| 3) Air break fully automatic star delta starters are suggested for above 6 HP upto 20 HP except submersible pumpsets for which fully automatic ATS starters are to be adopted. |  |  |  |
| 4) FCMA soft starter are to be adopted for 100 HP and above |  |  |  |

5) Excise duty at 14.42%, VAT at 4%

| L.T. CABLES 3,3.5,4 CORE 1.1 KV GRADE ARMOURED ALUMINUM CONDUCTOR CABLE CONFORMING TO IS 1554 PART I WITH ISI MARKING |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sl. No. | Size in sq. mm | Basic rate excluding excise duty, sales tax etc., per metre Rs. |  |  |
|  |  | 3 Core | 3.5 Core | 4 Core |
| 1 | 2 | 3 | 4 | 5 |
| 1 | 4 | 72.00 | -- | 82.00 |
| 2 | 6 | 84.00 | -- | 96.00 |
| 3 | 10 | 103.00 | -- | 103.00 |
| 4 | 16 | 119.00 | -- | 139.00 |
| 5 | 25 | 143.00 | 168.00 | 179.00 |
| 6 | 35 | 175.00 | 199.00 | 218.00 |
| 7 | 50 | 227.00 | 259.00 | 281.00 |
| 8 | 70 | 287.00 | 331.00 | 384.00 |
| 9 | 95 | 373.00 | 430.00 | 506.00 |
| 10 | 120 | 448.00 | 526.00 | 612.00 |
| 11 | 150 | 541.00 | 619.00 | 734.00 |
| 12 | 185 | 650.00 | 760.00 | 914.00 |
| 13 | 240 | 835.00 | 965.00 | 1171.00 |
| 14 | 300 | 1018.00 | 1178.00 | 1430.00 |
| 15 | 400 | 1271.00 | 1510.00 | 1804.00 |
| Note: Excise duty at 14.42% and VAT at 4% extra. |  |  |  |  |

PVC INSULATED AND SHEATHED 3 CORE FLAT TYPE COPPER CABLE

CONFIRMING TO IS 694/1990

| Sl.No. | Size of cable | Unit | Rate |  |
| --- | --- | --- | --- | --- |
|  |  |  | With excise duty Rs. | Without excise duty Rs. |
| 1 | 1.5 sq.mm | Metre | 28.00 | 24.00 |
| 2 | 2.5 sq.mm | Metre | 41.00 | 36.00 |
| 3 | 4.0 sq.mm | Metre | 61.00 | 53.00 |
| 4 | 6.0 sq.mm | Metre | 89.00 | 78.00 |
| 5 | 10.0 sq.mm | Metre | 142.00 | 124.00 |
| 6 | 16.0 sq.mm | Metre | 228.00 | 200.00 |

VACCUM PUMPSET WITH ACCESSORIES

(In rupees)

| i. | Price for 5 HP Model/Rotary type Vaccum pumpsets (Pumpset + GI pipes + Fittings +Starters + Valves + 100 Lr.Tank) including Transportation, handling charges all taxes and duties | 102850.00 |
| --- | --- | --- |
| ii. | Price for 10 HP vaccum pumpset with all above Accessories | 117370.00 |
| iii. | 150mm dia Pressure Gauge and vaccum gauge including all accessories as per specification (For Suction and Delivery to be mounted on wall on Teak wood Board) | 1815.00 |

DOL STARTER WITH SINGLE PHASING PREVENTOR WITH AMMETER

CONFORMING TO IS 13947 WITH AUTO RESTART FACILITY

FOR PUMP HOUSES WHERE PANEL BOARDS ARE AVAILABLE)

Up to 10 HP  Rating Rs. 4678/-

( The above rates are inclusive of all taxes, duties and handling charges)

Excise duty at 14.42%, VAT 4%

| FULLY AUTOMATIC AIR BREAK STAR DELTA STARTER WITH SINGLE PHASING PREVENTOR WITH AMMETER CONFORMING TO IS 13947 WITH AUTO RESTART FACILITY |  |  |  |
| --- | --- | --- | --- |
| Sl.No. | KW Rating | HP | Net price Rs. |
| 1 | 7.5 | 10 | 9450.00 |
| 2 | 11 | 15 | 9450.00 |
| 3 | 15 | 20 | 9975.00 |
| 4 | 18.5 | 25 | 9975.00 |
| 5 | 22 | 30 | 16275.00 |
| 6 | 30 | 40 | 18638.00 |
| 7 | 37 | 50 | 21263.00 |

The above rates are inclusive of all taxes, duties and handling charges.

Excise duty at 14.42%,VAT AT 4%

| FULLY AUTOMATIC AIR BREAK AUTO TRANSFORMER STARTER WITH SINGLE PHASING PREVENTORY WITH AMMETER WITH AUTO RESTART FACILITY |  |  |  |
| --- | --- | --- | --- |
| Sl. No. | KW Rating | HP | Net price Rs. |
| 1 | 5.5 | 7.5 | 18040.00 |
| 2 | 7.5 | 10 | 18700.00 |
| 3 | 9 | 12.5 | 20240.00 |
| 4 | 11 | 15 | 21175.00 |
| 5 | 15 | 20 | 48950.00 |
| 6 | 22 | 30 | 55550.00 |
| 7 | 30 | 40 | 60500.00 |
| 8 | 37 | 50 | 89925.00 |
| 9 | 45 | 60 | 106260.00 |
| 10 | 60 | 80 | 125950.00 |
| 11 | 75 | 100 | 142175.00 |

The above rates are inclusive of all taxes, duties and handling charges.

Excise duty at 14.42%,VAT AT 4%

LT CUBICAL PANEL BOARD LWITH COPPER BUS BAR

The prices for the LT cubical panel board as per schematic data.

PRICE FOR CUBICAL PANEL BOARD (14/16 SWG)

| 45 KW | : | Rs. 2,10,000.00 |
| --- | --- | --- |
| 46KW to 52 KW | : | Rs.2,36,250.00 |
| 53KW to 60 KW: | : | Rs.2,78,250.00 |
| 61KW to 75 KW | : | Rs.3,15,000.00 |
| 76KW to 90KW | : | RS.3,78,000.00 |
| 91 KW to 100KW | : | Rs.4,20,000.00 |

NOTE:

1)	In case additional incomer is required due to Genset & additional outgoing are required due to more number pumpsets, treatment plant etc. proportionate cost should be added over and above the rates.

2)	The above rates are only guidelines, and if any specific panels are required due to site condition the rates are to be ascertained and incorporated.

3)	The rates are inclusive of all taxes, duties and handling charges and F.O.R. destination.

RATE FOR MAXED DIE ELECTRIC CAPACITOR WITH TNEB TEST CERTIFICATE WITH ACCESSORIES INCLUDING BANKING

CONFORM TO IS 2834.

Rs.420/- per KVAR (including all taxes, duties and handling charges.)

Note:

a. The rate for mixed Die Electric Capacitor with Test Certificate given as Rs.420/-  per KVAR is inclusive of all taxes and duties and inclusive of Banking charges, such as providing of copper bus bars with provision for addding atleast 2 capacitors at later date, cable entry box, fabricating charges etc. complete. This rate is not applicable for replacement of capacitors which do not require banking and fabrication works.

CABLE JOINTS INCLUDING JOINT MATERIALS AND LABOUR

The cost of cable per metre will be the cost per joint

RATE   FOR CABLE  LAYING

| Sl.No. | Size in Sq.mm | Rate per metre for laying below GL including earth work Rs. | Rate per metre for laying in trenches inside the pump room or in air Rs. |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |
| 1 | Upto 95 sq.mm | 59.00 | 31.00 |
| 2 | 95-240 sq.mm | 88.00 | 47.00 |
| 3 | 240-400 sq.mm | 126.00 | 83.00 |

RATE FOR CABLE CLAMPS:

For every 3 metre length one set of clamp is to be provided.

The rate per clamp is as under.

a.	Upto 95 sq.mm 	-	Rs. 79.00

b.	95- 240 sq.mm	-	Rs. 105.00

c.	240-400 sq.mm	-	Rs. 158.00

## NOTE

- Suitable number of clamps are to be arrived at according to the length

2)	Provision for cable trench and delivery pipe ducting are to be provided in pump house detailed estimate.

## RATE FOR PROVISION  FOR   LT METERING BOX

| A | Upto 50 HP/37 KW (which includes LT meter panel board, 6 Nos. suitable fuse carriers) | Rs.12,600.00 |
| --- | --- | --- |
| B | 75 HP/56 KW (which includes LT meter panel board, 6 Nos. suitable fuse carriers) | Rs.14,700.00 |
| C | Above 75-150 HP/56-112 KW (which includes LT meter panel board, 6 nos, suitable fuse carriers) | Rs.18375.00 |
| D | In HT supply using LT metering board (Above 150 HP below 200 HP) 112-150 KW | Rs.31500.00 |

RATE FOR TRANSFORMER SUB STATION.

Provision for Cement concrete flooring has to be made at the sub station

yard.

RATE FOR DESIGNING & PREPARATION OF CEIG DRAWINGS

APPROVAL AND SAFETY CERTIFICATES

a.	Designing and preparation of CEIG drawings, obtaining

Approval and safety certificate including submission of

Completion report and rectification report.		    Rs. 42,000.00

b.	Supply, delivery of 6 pole structure materials with suitable

Size RSJ along with all structure material are as under.

i)	For 11 KV Sub station				    Rs.2,36,250.00

ii)	For 22 KV Sub station                		    Rs.2,62,500.00

c.	Construction of transformer plinth		          	    Rs.  11,550.00/

each

d.       Chain link fencing with gate including the TNEB

2 poles Spreading of materials as per CEIG

requirements	                                                        Rs.   51,975.00

e.       Transformer yard earthing

i.	Upto 250 KVA Transformer sub station 	    Rs.  42,000.00

ii.	Above 250 KVA				    Rs.  63,000.00

f.	Transformer sub station erection charges                   Rs.  10,500.00/

each

M.V. PANEL BOARD WHEN THE TRANSFORMER SUBSTATION IS WITHIN 15 METRES FROM THE PUMP ROOM WITH INCOMING ACBs AND OUTGOING ACBs AND MCBs

Sl.No.				Range				Price Rs.

- 120 KW to 200 KW			5,67,000.00

- 201 KW to 300 KW			6,30,000.00

M.V. PANEL BOARD WHEN THE TRANSFORMER SUBSTATION IS MORE THAN 15 METRES FROM THE PUMP ROOM WITH INCOMINGS ACBs AND OUTGOING ACBs AND MCBs

- For Panel

Sl.No.				Range				Price Rs.

- 120 KW to 200 KW			5,77,500.00

- 201 KW to 300 KW			6,51,000.00

b)	For MCCB Panel

Sl.No				Range				Price Rs.

- 120 KW to 150 KW			2,99,250.00

- 151 KW to 200 KW			3,30,750.00

- 201 KW to 250 KW			3,46,500.00

- 251 KW to 300 KW			3,67,500.00

SAFETY APPLIANCES INCLUDING ALL TAXES, DUTIES AND HANDLING CHARGES.

| # Sl.No | # Description | Rate per Each Rs. |
| --- | --- | --- |
| 1 | Electrical gloves tested to 11 KV /22 KV with wooden box dusted with french chalk powder | 289.00 |
| 2 | Electrical quality 6mm thick rubber mat | 415.00 |
| 3 | 5 kg capacity ISI marked Dry chemical powder fire extinguisher | 1,969.00 |
| 4 | Fire Bucket-3 Nos Hooked to MS stand | 1,082.00 |
| 5 | Laminated shock treatment chart | 893.00 |
| 6 | Wooden First Aid Box | 630.00 |
| 7 | Rechargeable Emergency lamp (600mm Fluorocuent lamp) | 2,573.00 |
| iv | ## H.T. SUPPLY |  |
| 1. | Wooden ladder –3M Ht. | 2,573.00 |
| 2 | Earth Discharge Rod | 1,943.00 |

The rate is inclusive of all taxes, duties, handling charges and F.O.R. destination.

RATE FOR TOOLS INCLUDING ALL TAXES, DUTIES AND

HANDLING CHARGES

| Sl. No. | Particulars | Rate per each Rs. |
| --- | --- | --- |
| 1 | 6” Chain wrench best India make | 714.00 |
| 2 | 8”Chain Wrench Best India Make | 845.00 |
| 3 | Connector Screw Driver 901 Taparia Make | 26.00 |
| 4 | 200mm Screw Driver 825 Taparia Make | 47.00 |
| 5 | 300mm Screw Driver 829 Taparia Make | 79.00 |
| 6 | 400mm Screw Driver 930 Taparia Make | 131.00 |
| 7 | 200mm Cutting Plier Taparia Make | 168.00 |
| 8 | 800gm Ball Pane Hammer with Handle Taparia Make | 210.00 |
| 9 | Digital Tong Tester CE Make | 2678.00 |
| 10 | Digital Multi Meter CE Make | 1838.00 |
| 11 | 15” Screw Spanner Taparia Make | 499.00 |
| 12 | 12” Bearing Puller | 394.00 |
| 13 | Lever Type Grease Gun | 284.00 |
| 14 | 12”Screw Spanner | 247.00 |
| 15 | Crow Bar 5” | 284.00 |
| 16 | 1” Cold Chisel | 95.00 |
| 17 | Hacksaw Frame with Blade | 53.00 |
| 18 | Electrical Air Blower | 3150.00 |
| 19 | Digital Tachometer | 4384.00 |
| 20 | Hand Crimpling Tool 8” | 247.00 |
| 21 | DE Spanner set 6 to 32 Jhalani Make | 509.00 |
| 22 | Rings spanner set 6 to 32 Jhalani Make | 1192.00 |
| 23 | Pipe Wrench 24” Jhalani Make | 735.00 |
| 24 | Pipe Wrench 14” Jhalani Make | 263.00 |
| 25 | 12” Flat rough File Scissors Make | 142.00 |
| 26 | 12” Flat smooth File Scissors Make | 247.00 |
| 27 | 12”Round File Rough Scissors | 210.00 |
| 28 | 12” Round File Smooth Scissors Make | 247.00 |
| 29 | 12”Half Round File Rough Scissors Make | 357.00 |
| 30 | 12”Half Round File Smooth Scissors Make | 404.00 |

The rate is inclusive of all taxes, duties, handling charges and F.O.R. destination.

### RATE FOR PUMPROOM WIRING AND OTHER ITEMS

| Sl. No. | DESCRIPTION | UNIT | RATE (Rs.) |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |
| 1 | Providing lighting wiring using MS conduit pipes and specials with 2 runs 1.5 sq.mm PVC copper wire and 1 run 12 swg GI wire for earthing for light, fans and 5A plug points including switch box 5A switch sockets, ceiling rose and consumables. | Point | 457.00 |
| 2 | Supply of portable hand lamp with 100w bulb, lamp guard and wooden handle and 25M long flexible cable. | No. | 840.00 |
| 3 | Supply of pedestal fan | No. | 2258.00 |

Note:	Add 35% for wiring on the total fittings cost.

The above rate is inclusive of all taxes, duties, handling charges and F.O.R. destination.

Excise duty at 14.42%, VAT at 4%

#### RATE FOR TWIN GI EARTHING

- Upto 25 HP installation		Rs.	 5,250.00

- Above 25-60 HP			Rs.	 8,400.00

- Above 60-150 HP			Rs.	12,600.00

- Above 150 HP				Rs.	21,000.00

Note: 	In the case of collector well, the collector well distance from the bank of the river should be  ascertained to find out the weight of the GI strip to be used only in the foot bridge and rate of Rs.47/- per kg should be adopted for estimation and this amount should be added with the above rates.

RATE FOR ELECTRONIC WATER METER CONNECTED TO CONVERTER TO GIVE A REMOTE INDICATION OF TOTALISATION AND FLOW RATE WITH OPTION FOR COMPUTER CONNECTIVITY INCLUDING SENSOR AND TOTALISER INCLUDING ALL TAXES, DUTIES AND HANDLING CHARGES.

Sl.No.			Line Size in mm		Price including local taxes

Duties, handling and   	installation charges

Rs.

- 150 to 450				1,83,750.00

- 475 to 750				2,04,750.00

- 775 to 1200				2,46,750.00

(a)   RATE FOR CI SLUICE VALVES NON RAISING SPINDLE TYPES TO PRESSURE RATING OF 1.6 PN TO BE USED IN PUMP HOUSES (LONG BODY/ LONG FACE TO FACE) Conforming to IS.

| Sl.No. | Size | Rate(Rs.) | Remarks |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |
|  | 100mm | 6615.00 |  |
|  | 125mm | 8724.00 |  |
|  | 150mm | 10209.00 |  |
|  | 200mm | 16630.00 |  |
|  | 250mm | 22407.00 |  |
|  | 300mm | 30926.00 |  |
|  | 350mm | 58780.00 | With spur gear arrangements |
|  | 400mm | 84203.00 | With spur gear arrangements |
|  | 450mm | 106518.00 | With spur gear arrangements |
|  | 500mm | 126125.00 | With spur gear arrangements |
|  | 600mm | 187950.00 | With spur gear arrangements |

Note:; The rate is inclusive of taxes, duties and handling charges.

(b) RATE FOR BUTTERFLY VALVES WITH TOP AND BOTTOM OF S.S. 410 SHAFT, WAFER LINER/ WITH  REDUCTION GEAR UNIT INCLUDING ALL TAXES, DUTIES AND HANDLING CHARGES (Conforming to BS 5155 & IS)

i) WAFER LINER

Sl.No.			      Size(MM)			          Rate Rs.

- 100				2028.00

- 150				2873.00

- 200				7976.00

- 250			         10298.00

- 300			         13834.00

ii) GEAR OPERATED D/F

1				400				63016.00

2				450				66090.00

3				500				69164.00

4				600				95291.00

Confirming to standard BS 5155 Butterfly valve with Body, Disc and retainer of Cast Iron Grade F.260 with EDPM rubber sleeve. Internal hardware confirming to AISI 304. External hardware Carbon Steel confirming to IS 1367. Top and bottom shaft stainless steel to AISI 410. Body and disc should be tested (Hydro test) to 15 kg/sq.cm.

## (c) NON RETURN VALVES

I.    WAFER TYPE (DUAL PLATE CHECK VALVE) CONFORMING TO IS

| Sl. No. | Size in mm | Rate Rs. |
| --- | --- | --- |
| 1 | 2 | 3 |
| 1 | 100 | 2690.00 |
| 2 | 150 | 6281.00 |
| 3 | 200 | 10984.00 |
| 4 | 250 | 19562.00 |
| 5 | 300 | 24451.00 |

II.    DOUBLE FLANGED (DUAL PLATE CHECK VALVE)

| Sl. No. | Size in mm | Rate Rs. |
| --- | --- | --- |
| 1 | 2 | 3 |
| 1 | 400 | 60964.00 |
| 2 | 450 | 76671.00 |
| 3 | 500 | 84184.00 |
| 4 | 600 | 102626.00 |

Construction confirming to standard  API 594. Body should confirm cast iron Grade FG 260 (IS 210), Disc plates confirming to ASTM A216, hinch pin/ stop pin/ spring should be of SS to AISI 410/304. Body seat should be of EDPM rubber. The body should be tested to 15 kg/ sq.cm and seat should be tested to 10 kg/ sq.cm

(d)   D/F NON RETURN VALVE (OUT DOOR USE)

RATE FOR CI SINGLE DOOR/ MULTY DOOR NON RETURN VALVE CONVFORMING TO IS 5312 TO BE FIXED AFTER WATER METER/ FLOW RECORDER ON PUMPING MAIN NEAR PUMP HOUSE WITH DASH  POT ARRANGEMENT FOR 90% FAST CLOSING & 10% SLOW CLOSING.

| Sl.No. | # Size in mm | Rate Rs. |
| --- | --- | --- |
| 1 | # 2 | 3 |
| 1 | 300 | 64661.00 |
| 2 | 350 | 95262.00 |
| 3 | 400 | 119736.00 |
| 4 | 450 | 158314.00 |
| 5 | 500 | 191639.00 |
| 6 | 600 | 265715.00 |
| 7 | 700/750 | 416782.00 |
| 8 | 800 | 483849.00 |

(e)   RATE FOR KINETIC AIR VALVES FOR HANDLING MORE VOLUMES OF AIR IN PUMPING MAIN, DOUBLE ORIFICE KINETIC AIR VALVE CONFIRMING TO IS 4845 TAMPER PROOF DESIGN (PN-1)

| Sl.No. | Size in mm | Rate Rs. |
| --- | --- | --- |
| 1 | 50 | 10570.00 |
| 2 | 80 | 12194.00 |
| 3 | 100 | 15057.00 |
| 4 | 150 | 32307.00 |
| 5 | 200 | 47555.00 |

Excise Duty at 14.42%,  VAT at 12.5% extra

RATE FOR H.O.T. CRANE & ACCESSORIES INCLUDING ALL TAXES,

DUTIES AND HANDLING CHARGES.

| Sl.No | DESCRIPTION | RATE Rs. |
| --- | --- | --- |
| 1 | 2 | 3 |
| 1 | 2T capacity hand operated over head Travelling (HOT) crane suitable for a span upto 6 Mtrs, and travel length upto 10 Mtrs. with clear lift upto 6 Mtrs. including gear type chain pulley block and geared Travelling trolley complete with all accessories. | 213675.00 |
| 2 | 2T HOT crane with above specifications upto 8 Mtrs. Span | 220605.00 |
| 3 | 2T HOT crane with above specifications upto 10 Mtrs. Span | 235620.00 |
| 4 | 3T capacity hand operated over head Travelling (HOT) crane suitable for a span upto 6 Mtrs, and travel length upto 10 Mtrs. with clear lift upto 6 Mtrs. including gear type chain pulley block and geared Travelling trolley complete with all accessories. | 229845.00 |
| 5 | 3T HOT crane with above specifications upto 8 Mtrs. Span | 236775.00 |
| 6 | 3T HOT crane with above specifications upto 10 Mtrs. Span | 246015.00 |
| 7 | 5T capacity hand operated over head Travelling (HOT) crane suitable for a span upto 6 Mtrs, and travel length upto 10 Mtrs. with clear lift upto 6 Mtrs. including gear type chain pulley block and geared Travelling trolley complete with all accessories. | 296835.00 |
| 8 | 5T HOT crane with above specifications upto 8 Mtrs. Span | 317625.00 |
| 9 | 5T HOT crane with above specifications upto 10 Mtrs. Span | 338415.00 |

- Prices for carrying energy efficiency Improvement Job by Application of Corrocoat Coating of Horizontal Split Case Pumps

In Rupees

| Sl. No. | Capa- city in LPM | # HEAD IN METRES |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 25 | 30 | 35 | 40 | 45 | 50 | 55 | 60 | 70 | 80 |  | 90 |
| 1 | 1500 | 41432 |  |  |  |  |  |  |  |  |  |  |  |
| 2 | 2500 | 46530 |  |  | 47520 | 48510 |  |  |  |  |  |  |  |
| 3 | 3000 | 48510 |  |  |  |  |  |  |  |  |  |  |  |
| 4 | 3500 | 48510 |  |  |  | 49500 | 54450 |  |  |  |  |  |  |
| 5 | 4000 | 48510 |  | 52470 |  | 54450 | 54450 |  |  |  |  |  |  |
| 6 | 5000 | 49500 | 54450 |  |  |  | 64350 |  |  |  |  |  |  |
| 7 | 6000 | 54450 | 64350 |  |  |  |  | 69300 |  |  |  |  |  |
| 8 | 7000 | 64350 | 69300 | 78210 |  | 82170 |  |  |  |  |  |  |  |
| 9 | 8000 | 82170 |  |  | 89100 |  |  |  |  |  |  |  |  |
| 10 | 9000 | 89100 |  | 97020 |  |  |  |  |  |  |  |  |  |
| 11 | 10000 | 97020 | 105930 |  |  |  |  |  |  |  |  |  |  |
| 12 | 15000 | 118800 | 124740 |  |  |  |  |  |  |  | 152460 |  |  |
| 13 | 20000 | 143550 | 152460 |  |  |  |  |  |  |  | 173250 |  |  |
| 14 | 25000 | 152460 | 173250 |  | 174240 |  |  |  |  |  | 183150 |  |  |
| 15 | 30000 | 173250 |  | 176220 |  | 183150 |  |  |  |  | 207900 |  |  |

Note: the rates for testing and repairs, if any required, for pumpsets will be extra.

( b) Prices for carrying out energy efficiency improvement job by application of Corrocoat Coating for mixed flow pumps

### In Rupees

| Sl.No. | Capacity in Cum/Hr. | Head in Metres |  |
| --- | --- | --- | --- |
|  |  | 10 | 15 |
| 1 | 400 | 50000 |  |
| 2 | 500 | 50000 |  |
| 3 | 600 | 53000 |  |
| 4 | 700 | 55000 |  |
| 5 | 800 | 57000 |  |
| 6 | 900 | 57000 |  |
| 7 | 1000 | 67000 |  |
| 8 | 1100 | 67000 |  |
| 9 | 1200 | 87000 |  |
| 10 | 1300 | 87000 |  |
| 11 | 1400 | 113000 |  |
| 12 | 1500 | 113000 |  |

Note: The rates for testing and repairs, if any required, for pumpsets will be extra.

(c) PRICES FOR CARRYING OUT ENERGY  EFFICIENCY IMPROVEMENT JOB BY APPLICATION OF CORROCOAT COATING FOR VERTICAL TURBINE PUMPS.

HEAD IN METRES

(In Rupees)

| Sl. No. | Capacity in LPM | 15 | 20 | 25 30 35 | 40 45 50 | 55 60 | 70 80 90 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
| 1 | 2500 | 70000 | 69300 | 94050 | 108900 | 123750 | 138600 |
| 2 | 3000 | 70000 | 69300 | 94050 | 123750 | 138600 | 193050 |
| 3 | 3500 | 70000 | 69300 | 94050 | 133650 | 148500 | 202950 |
| 4 | 4000 | 74000 | 73260 | 99000 | 141570 | 163350 | 212850 |
| 5 | 5000 | 74000 | 73260 | 99000 | 141570 | 163350 | 212850 |
| 6 | 6000 | 80000 | 79200 | 108900 | 148500 | 173250 | 222750 |
| 7 | 7000 | 89000 | 88110 | 118800 | 153450 | 183150 | 232650 |
| 8 | 8000 | 103000 | 101970 | 128700 | 163350 | 193050 | 242550 |
| 9 | 9000 | 103000 | 101970 | 128700 | 163350 | 193050 | 242550 |
| 10 | 10000 | 114000 | 112860 | 133650 | 173250 | 202950 | 252450 |
| 11 | 15000 | 124000 | 122760 | 148500 | 183150 | 212850 | 262350 |
| 12 | 20000 | 135000 | 133650 | 158400 | 193050 | 222750 | 272250 |
| 13 | 25000 | 145000 | 143550 | 173250 | 202950 | 232650 | 282150 |
| 14 | 30000 | 155000 | 153450 | 183150 | 212850 | 242550 | 292050 |

Note: The rates for testing and repairs, if any required, for pumpsets will be extra.