## Sheet1
MISCELLANEOUS
Sche-dule Item No. | Description | Unit | Rates Rs.
PLUMBING
1. A | Laying of G.I. Pipes and specials to proper line and level including jointing but excluding cost of pipes and jointing materials for plumbing works for providing water supply and sanitary works in the premises of the builing
| 6 mm to 32 mm dia | One metre | 6
| 40 mm to 50 mm dia | One metre | 6
| 65 mm to 150 mm dia | One metre | 8
b | Bore cap using M.S. Flat of size 1 cm x 3 mm and M.S. sheet on top with bolting arrangements for securing the cap in position (Bore caps with M.S. Couplings need not be made) |  | 0
| For 5" Casing Pipes | Each | 182
| For 6" Casing Pipes | Each | 193
| For 8 " Casing Pipes | Each | 212
2 | Labour for cutting open road for laying water mains or sewer. |  | 0
a. | B.T. Roads (or) Maccadam road | One cubic metre | 243
b. | Concrete Roads | One cubic metre | 340
3 | Labour for drilling, cutting, Threading and Fixing Ferrules in distribution pipes. |  | 0
| 10 mm dia | Each | 26
| 15 mm dia | Each | 32
| 20mm dia | Each | 40
| 25 mm dia | Each | 48
0
4 | Painting TWAD Board Emblem in accordance with the size and specifications as approved by the Board on the service reservoirs including cost of all consumables. | Sqm | 820
5 | Drilling holes in C.I/G.I. Dummy Flanges. |  | 0
| 12 mm dia Holes | Each | 9
| 15 mm dia Holes | Each | 18
| 20 mm dia Holes | Each | 26
| 22 mm dia Holes | Each | 35
| 25 mm dia Holes | Each | 44
0
6 | Labour for refilling with sand the socket hollows of pipes including conveyance and stacking | One cubic metre | 9
| NOTE : 1) For depth between | Percentage escess allowed over basic rate | 0
| 2 m to 4 m | 15% | 0
| 4 m to 6 m | 30% | 0
7 | Lifting and Fixing of C.I. Pipes in vertical direction for service reservoir pipe connection |  | 0
| 0 to 2 m | Qtl | 76
| 2 to 4 m | Qtl | 114
| 4 to 6 m | Qtl | 179
| 6 m to 8 m | Qtl | 247
| 8 m to 10 m | Qtl | 315
| 10 m to 12 m | Qtl | 382
| 12 m to 14 m | Qtl | 452
| 14 m to 16 m | Qtl | 515
| 16 m to 18 m | Qtl | 583
| 18 m to 20 m | Qtl | 651
| 20 m to 22 m | Qtl | 718
| 22 m to 24 m | Qtl | 785
0
| DRILLING WORKS |  | 0
| Using Hand Bore set |  | 0
8.a | Drilling of borewells of size 4" to 5" dia in Sedimentary formation using hand boresets including insertion of casing pipes and removal of casing pipes etc., including supplying and packing of pebbles and conveyance of hand Boreset including loading and unloading | One metre | 285
b | Drilling of borewells of size 6" to 8" dia in sedimentary formation using hand boreset including insertion of casing pipe etc., and supplying and packing of pebbles (Conveyance of hand bore set including loading and unloading to be done by the contractor | One metre | 335
| Using calyx Drill |  | 0
c | Drilling of 4 1/2" diameter borewell by using calyx Drill including transporting chargs and insertion of casing pipes (excluding cost of casing pipe) |  | 0
i. | For Hilly terrain area | One metre | 1065
ii. | For Plain area | One metre | 880
d | Drilling 4 1/2" dia meter bores by using in-well rigs in hilly areas | One metre | 449
e | Reaming from 6" Pilot bore to 12" size bore as directed by the TWAD Board Officers | One metre | 118
f | Labour charges for inserting casing pipes assembly (With slot or without slot) in the drilled hole including welding the joint etc., complete and supplying and packing the annular space with pebbles of size and quality as approved by the Executive Engineer | One metre | 112
9 a | Driving sheet piles for one metre length of gallery each side in sandy soil |  | 0
i. | First depth of 2 m | One metre | 221
ii | Second depth of 2 m | One metre | 338
iii | Third depth of 2 m | One metre | 634
b | Removing sheet piles from one metre length of gallery on each side including stacking the sheets piles properly |  | 0
i. | First depth of 2 m | One metre | 35
ii | Second depth of 2.00 metres | One metre | 53
iii | Third depth of 2.00 metres | One metre | 77
10 | Drilling of borwell inside well 115mm dia |  | 0
| a) vertical | One metre | 245
| b) horizontal | One metre | 269
11 | Drilling of borewell inside well 150mm dia |  | 0
| a) vertical | One metre | 307
| b) horizontal | One metre | 324
12 | Drilling of Borewells anywhere in Tamilnadu including transportation from one place to another with in Tamilnadu in alluvial soil sedimentary strata of clay and sand stone shale pebbles boulders etc. By first taking a pilot bore of 140 mm/150mm dia and then enlarging to required dia direct or reverse rotary mud circulation method using rotary rigs fuel, labour and drilling bentonite and water required for drilling at site. Site will be shown by the TWAD Board officers including construction of mud pit. | P.S. to M.D.S.S. Special Specifications. | 0
a. | Drilling of 140/150 mm pilot bore |  | 0
0
i. | Upto 60 mt. Depth ending below ground level | One metre | 512
ii | From 60 mt. Upto 90 mt. Depth ending from ground level | One metre | 554
iii | From 90 mt. Upto 120 mt. Depth ending from ground level | One metre | 588
iv | From 120 mt. Upto 150 mt. Depth ending from ground level | One metre | 619
v | From 150 mt. Upto 180 mt. Depth ending from ground level | One metre | 629
vi | From 180 mt. Upto 210 mt. Depth ending from ground level | One metre | 649
vii | From 210 mt. Upto 240 mt. Depth ending from ground level | One metre | 668
viii | From 240 mt. Upto 270 mt. Depth ending from ground level | One metre | 690
ix | From 270 mt. Upto 300 mt. Depth ending from ground level | One metre | 706
x | From 300 mt. Upto 330 mt. Depth ending from ground level | One metre | 723
xi | From 330 mt. Upto 360 mt. Depth ending from ground level | One metre | 738
12 b | Reaming 140/150 mm dia pilot bore to 300mm dia bore as directed by the TWAD Board Officer. |  | 0
i. | Upto 60 mt depth ending below ground level | One metre | 129
ii | From 60 mt depth and upto 90 mt depth ending below ground level | One metre | 137
iii | From 90 mt upto 120 mt depth ending below ground level | One metre | 146
iv | From 120 mt upto 150 mt depth ending below ground level | One metre | 148
v | From 150 mt upto 180 mt depth ending below ground level | One metre | 155
vi | From 180 mt upto 210 mt depth ending below ground level | One metre | 163
vii | From 210 mt upto 240 mt depth ending below ground level | One metre | 170
viii | From 240 mt upto 270 mt depth ending below ground level | One metre | 177
ix | From 270 mt upto 300 mt depth ending below ground level | One metre | 186
x | From 300 mt upto 330 mt depth ending below ground level | One metre | 193
xi | From 330 mt upto 360 mt depth ending below ground level | One metre | 200
0
12 c | Reaming 200 mm dia pilot bore to 350mm dia bore as directed by the TWAD Board Officer. |  | 0
0
i. | Upto 60 mt depth ending below ground level | One metre | 145
ii | From 60 mt depth and upto 90 mt depth ending below ground level | One metre | 153
iii | From 90 mt upto 120 mt depth ending below ground level | One metre | 163
iv | From 120 mt upto 150 mt depth ending below ground level | One metre | 168
v | From 150 mt upto 180 mt depth ending below ground level | One metre | 173
vi | From 180 mt upto 210 mt depth ending below ground level | One metre | 187
vii | From 210 mt upto 240 mt depth ending below ground level | One metre | 213
viii | From 240 mt upto 270 mt depth ending below ground level | One metre | 219
ix | From 270 mt upto 300 mt depth ending below ground level | One metre | 224
x | From 300 mt upto 330 mt depth ending below ground level | One metre | 231
xi | From 330 mt upto 360 mt depth ending below ground level | One metre | 237
12 d | Reaming 300 mm dia pilot bore to 400mm/ 450mm dia bore as directed by the TWAD Board Officer. |  | 0
i. | Upto 60 mt depth ending below ground level | One metre | 199
ii | From 60 mt depth and upto 90 mt depth ending below ground level | One metre | 222
iii | From 90 mt upto 120 mt depth ending below ground level | One metre | 237
iv | From 120 mt upto 150 mt depth ending below ground level | One metre | 251
v | From 150 mt upto 180 mt depth ending below ground level | One metre | 261
vi | From 180 mt upto 210 mt depth ending below ground level | One metre | 269
vii | From 210 mt upto 240 mt depth ending below ground level | One metre | 275
viii | From 240 mt upto 270 mt depth ending below ground level | One metre | 288
ix | From 270 mt upto 300 mt depth ending below ground level | One metre | 299
x | From 300 mt upto 330 mt depth ending below ground level | One metre | 313
xi | From 330 mt upto 360 mt depth ending below ground level | One metre | 324
0
12 e | Labour Charges for inserting 150 mm/200mm/250 mm dia (M.S. Casing pipes assembly with slots or with out slots) in the drilled hole including welding the joints etc., complete and supplying and packing the annular space with pebbles of size and quality as approved by the Executive Engineers TWAD Board. |  | 0
0
i. | 150 mm dia Casing Pipes assembly | One metre | 116
ii | 200 mm dia Casing Pipes assembly | One metre | 116
iii | 250 mm dia Casing Pipes assembly | One metre | 118
0
13 a | Labour Charges for inserting PVC Casing pipes assembly (with slots or without slots) in the drilled hole including jointing the pipes with PVC Couplers with Cement paste etc., complete supply and packing the annular space with pebbles of size and quality as approved by the executive engineers TWAD Board |  | 0
0
i. | 150 mm dia Casing Pipes assembly | One metre | 112
ii | 200 mm dia Casing Pipes assembly | One metre | 116
iii | 250 mm dia Casing Pipes assembly | One metre | 116
0
13 b | Charges for developing the Borewell with air compressor of 600 CFM capacity (Minimum 8 Hours) including transportation, labour and fuel charges for compressor as directed by TWAD Officers and conducting yield test by 'V' notch method. | One hour | 754
0
| Note : I) For 150 mm dia bore, reaming should be done upto 300 mm dia. II) For 200 mm dia bore, reaming should be done upto 300 mm dia and thereafter 400,450 etc. |  | 0
0
14 | Drilling of borewell anywhere in Tamilnadu including transportation from one place to another place within Tamilnadu in alluvial soil or sedimentary strata of clay and sand or sand, stone, shale, pebbles, boulders etc., by first taking a pilot bore of 140 mm/150mm dia and then enlarging to required dia by direct or reverse rotatry mud and circulation method using contractor's rig, fuel, labour, drilling, betonite mud and water required for drilling at the site shown by the TWAD officers including construction of mud pit only calyx drills are to be used. |  | 0
a. | Drilling 140 / 150 mm dia Pilot Bore upto 60 m depth ending below ground level. | One metre | 373
b. | Reaming from 140/150 mm dia pilot bore to 300 mm dia bore as directed by the TWAD Board Officers upto 60 m Depth ending from ground level | One metre | 106
c. | Labour charges for inserting 150 mm dia M.S. Casing pipes assembly (With slots or without slots) in the drilled hole including welding the joints and packing annular space with pebbles of size and quality as approved by the Executive Engineer / TWAD | One metre | 95
d. | Labour Charges for inserting PVC casing pipes assembly (with slots or without slots) in the drilled hole including the jointing the pipes with PVC couplers with cement paste etc. complete |  | 0
i. | 140 mm OD PVC Casing Pipes Assembly | One metre | 81
ii | 165 mm/168 mm dia PVC Casing pipes Assembly | One metre | 95
e. | Charges for developing the borewell with air compressor of 300 cfm capacity (Minimum 8 Hours) including transportation labour and fuel charges for compressor as directed by TWAD Board officers and conducting yield test by 'V' notch method. | One metre | 587
f. | Drilling of 12" dia vertical borewell so as to have a finished size of 6" dia borewell in boulder area to any required depth as decided by the TWAD Board officers including Transportation from one place to anothr place with in Tamilnadu State by direct or reverse rotary mud circulation method using contractor's rig tools, fuel labourers, bentonite mud and water required for drilling at the site shown by the TWAD Officers including construction of mud pit etc. using only calyx rigs. | One metre | 718
15 a. | Conveyance of handpumps and its accessories from divisional stores to site of works |  | 0
i. | Conveyance upto 10 Kms | Each handpump and its accessories | 232
ii | Conveyance 10 to 20 Kms |  | 291
ii | Conveyance 20 to 40 Kms |  | 355
iv | Conveyance above 40 Kms |  | 411
| Note : i) Conveyance of Filter Point, Handpump with GI Pipes and its accessories from divisional stores to site of works. 50% of the rate of conveyance of hand pumps, with its accessories is applicable for this item for the respective leads as indicated above ii) If the Mark II hand pump is conveyed in cart track even for part distance 20 % extra over the above rate shall be adopted. |  | 0
b i. | Erection of deep well hand pumps upto 40 m | Each | 381
ii | Above 40 m | Each | 435
c. | Erection of shallow well hand pumps | Each | 169
d. | Erection Extra deep well hand pumps | Each | 492
e. | Removal of deep well hand pumps from borewell |  | 0
i. | Up to 40 m | Each | 381
ii | Above 40 m | Each | 480
f) | Attending repairs to deep well handpumps for borewells inclusive of removal of G.I. Pipes, Plunger rods, Cylinder and re-erection of hand pumps inclusive of lowering the GI Pipes Plunger rods cylinder, jointing etc. |  | 0
i. | Upto 30 M | Each | 405
ii) | Above 30 M | Each | 473
16 a | Erection of filter point with G.I. Pipes of 32 mm to 65 mm dia | Each | 110
b | Removing the chocked filter point with G.I. Pipes of 32 mm to 65 mm dia and re-erecting in another place within 1.00 KM radius after cleaning the filter points G.I. Pipes etc., Complete upto 8.00 m depth | Each | 183
17 (a) | ERECTION OF POWER PUMPSET IN BORE/OPENWELL |  | 0
| Labour Charges for erection of Horizontal shaft, centrifugal pumpset (Coupled/Monoblock) in bore well/Open well including fixing of suction pipe and foot valve upto a maximum depth of 7 metres and delivery pipes to the required length with valves, pressure gauges upto the exterior wall of pump room and erection of panel Board consisting of TPIC switches starter, voltmeter, Ammeter, Capacitor single phasing preventor and laying and jointing the cables and twin earthing as per IE rules including providing bed blcks etc., complete and operating the pumps and trail run for 10 days including signing of completion of reports as required by EB authorities. |  | 0
i. | Upto 3 HP | Each | 2461
ii | Above 3 HP upto 7.5 HP | Each | 3168
iii | Above 7.5 HP to 20 HP | Each | 3712
17 b | ERECTION OF POWER PUMPS IN BORE WELL |  | 0
| Erection of power pumps in borewell labour charges for erection of twin packer duplex type jet pumps in borewells upto 150 mm dia including fixing of Suction pipe regulating valves with jet assembly upto a maximum depth of 30 m and delivery pipe valves pressure gauges upto the exterior wall of pump room and erection of panel board consisting of TPICN switches starter, voltmeter, Ammeter, three indicator lamps capacitor and laying and jointing the cables and twin earthing as per IE rules etc., complete and testing the pumps and trail run for 10 days including signing of completion of reports as required by EB authorities and finishing the pipe holes including the foundation bolts, nuts and earth pits. |  | 0
i. | Upto 3 HP | Each | 3292
ii | Above 3 HP upto 7.5 HP | Each | 3847
iii | Beyond 7.5 HP upto 20 HP | Each | 4399
0
| Note : If depth of erection exceeds beyond 30 m 10% increase over the basic rate is allowed |  | 0
17 c | Labour charges for the erection of submersible pumpset in borewell/openwell including fixing and jointing submersible cable withproper clamps upto the starter to required depth and also fixing of riser pipes to the required depth valves erection clamps, pressure gauges upto the exterior wall of pump room and erection of panel board consisting of TPICN switches starter, voltmeter, Ammeter, three pilot (indicating) lamps capacitor single phasing preventor, water level guard and laying and jointing the cables and twin earthing as per IE rules etc., complete and testing the pumpset and trail run for 10 days. |  | 0
i. | Upto 5 HP | Each | 3347
ii) | Above 5.00 HP to 10.00 HP | Each | 3835
iii) | Above 10.00 HP to 20.00 HP | Each | 4254
17 d | Conveyance of power pumpset (centrifugal jet and submersible) and its accessories from divisional stores to site of works. |  | 0
| Conveyance upto 10 Kms | Each Power Pump and its accessories -do- -do- -do- -do- -do- | 505
| Conveyance 10 to 20 Kms |  | 555
| Conveyance 20 to 40 Kms |  | 821
| Conveyance 40 to 60 Kms |  | 1001
| Conveyance 60 to 80 Kms |  | 1314
| Conveyance above 80 Kms |  | 1507
| Note : For item 17 (a) (b) and (c) |  | 0
i. | For removal of centrifugal pumpset/jet pumps/submersible pumpsets and its accessories from borewell/open well for attending repairs 50% of the rates mentioned under item 17 (a) (b) and (c) may be allowed for the respective Horse power. |  | 0
ii | For re-erection of centrifugal pumpsets, jet pumpsets and its accessories into the borewell/ openwell after attending the repairs 50% of the rate mentioned under item 17 (a) (b) and (c) may be allowed for respective Horse power. |  | 0
18 | Hire charges : |  | 0
| Hire charges for the following tools and plants will be as follows. |  | 0
a | Sheet piles (Larsen) | Per Pile/Per day | 2
b | Sheet piles (For dingham) | Per Pile/Per day | 3
c | Compartment sheet with Grills (3' -0" Wide) | Per sheet/Per day | 3
d | Rate for flushing of borewell of 6" dia requiring less than 4 hours operation using drill rods/ hose with required size of pipes for various capacity compressor including transportation, labour, and fuel charges for compressors as directed by the TWAD Officer and conducting yield test by 'V' notch method if required. |  | 0
i. | For 600 Cfm ( 100 /150 PSI) | 1 hour (or) Part there of | 754
ii) | For 300/250 Cfm (100 PSI) | 1 hour (or) Part there of | 587
ii) | For 125 Cfm (100 PSI) | 1 hour (or) Part there of | 538
| Note : Minimum charges for 8 (eight) hours will be levied if the air compressor issued for other departmental works or if the air compressor is hired to other departments. |  | 0
e | Helmet | Per day/8 hours | 3
f | Hand test pump | Per day/8 hours | 28
g | Pile hammer | Per day/8 hours | 3
h | Concrete mixer 5 Cft. With driver (Excluding cost of fuel) | Per day/8 hours | 258
i. | Concrete mixer 7 Cft. With driver (Excluding cost of fuel) | Per day/8 hours | 389
j | Hand operated winch | Per day/8 hours | 26
k | Pile cap | Per day/8 hours | 7
l | Hire charges for diesel pumpset upto 3 HP with fuel and crew charges including transportation | Per hour | 79
m | Hire charges for diesel pumpset above 3 HP to 7.5 HP | Per hour | 110
19 a | Labour for tying barbed wire fencing horizontally through the holes in RCC posts with required tension. | One metre | 3
b | Labour for typing barbed wire fencing vertically with required tension | One metre | 3
20 | Labour charges for putting bore holes of size 3" to 4" in river bed in sandy and other loose soils using hand boring sets including the cost of hire charges, conveyance charges of hand boring sets, collection of soil sample at frequent intervals and as directed by TWAD Board Officers. | One metre | 154
21 | Desilting light or sandysoil or silt from infiltration wells below water level including the charges for special T&P and air compressor etc. complete. | One cubic metre | 611
Note on D23: abbas: