Earth work excavation other than pipe laying works and wells

| Schedule Item No. | Description | Unit | Rate |
| --- | --- | --- | --- |
|  | Earthwork excavating and depositing on bank with an initial lead of 10 meters and initial lift of 2 metres in |  |  |
| 1. | Sand, silt other loose soil, wet sand or silt not under water, light black cotton soil sandy loam and ordinary soil including excavated earth SS 20 A | 1m3 | 21.10 |
| 2. | Sand, silt or other loose soil, wet sand or silt not under water, light black cotton soil sandy loam and ordinary soil including excavated earth SS 20 B | 1m3 | 19.25 |
| 3. | Slush and silt under water upto 0.75 metre depth requiring the aid of baskets and vessels SS 20 B | 1m3 | 24.00 |
| 4. | Trimming the bed and side slopes of the bank in all soils except hard rock upto a thickness of 7.5 cm and making it ready to receive the concrete. | 1m2 | 4.95 |
| a. | 7.50 cm to 15cm thick | 1m2 | 6.05 |
| 5. | Sectioning during forming bunds when earth moving machineries, lorries and rollers for consolidation are used | 1m3 | 3.75 |
| 6. | Hard stiff clay, stiff black cotton, hard red earth, shales, murram, gravel, stoney earth and earth mixed with small size boulders and hard gravelly soil SS 20A | 1m3 | 30.60 |
| 7. | Hard stiff clay, stiff black cotton, hard red earth, shales, murram, gravel, stoney earth and earth mixed with small size boulders and hard gravelly soil SS 20B | 1m3 | 28.75 |
| 8. | Soft distintegranted rock, laterite, soft rock, kankar, not requiring blasting | 1m3 | 42.90 |
| 9. | In loose boulders in excavation of various sizes 150mm to 625mm and hand mixer in earth | 1m3 | 67.65 |
| 10. | Medium rock and dense medium rock not requiring blasting | 1m3 | 75.35 |
| 11. | Extra for every additional 10 metres lead or part thereof over the initial lead | 1m3 | 3.65 |
| 12. | Extra for every additional 1 metres lift or part thereof over the initial lift | 1m3 | 2.95 |
| 13. | Breaking clods, consolidating and sectioning | 1m3 | 1.85 |
| 14. | Breaking clods, consolidating and sectioning the earth scooped by bull dozers | 1m3 | 5.50 |
| 15. | Add relevant TNDSS No.20A, rates for new tank bunds and closing breaches for extra watering and consolidation. |  |  |
| a) | By hand roller | 1m3 | 6.05 |
| b) | By power roller including hire charges | 1m3 | 10.10 |
| 16. | Benching old embankment slopes 45cm x 45cm | 1 RM | 1.30 |
| 17. | Puddle wall work | 1m3 | 47.85 |
| 18. | Turfing in slopes including watering and fixing with initial lead upto 50m. | 1m2 | 10.10 |
| 19a | Refilling with excavated sand complying with standard specification for filing in foundation and basement | 1m3 | 9.00 |
| b | Refiling with excavated soil (other than sand) complying with the standard specification for filing in foundation and basement | 1m3 | 10.10 |

The following foot note is applicable for the classifications of soils come under "13(f) Quarrying and blasting" and "14 Earth Work"

Note:	a)	Standard specification No.20-A requires breaking clods, ramming and sectioning of spoil bank for which separate rate will not be paid.

b)	Standard specification No.20/B does not require breaking clods, ramming and sectioning but requires neat banking in accordance with the standard specifications.

c)	Double the relevant rate for standard specification No.20-B will apply to excavation in all the soils and rock classification given above for foundation of buildings, piers, wings and returns of bridges, culverts, sluices, regulators and cross masonry works, retaining walls, toe walls, cut-off walls and body walls of anicuts wiers, retaining walls of cause ways, road dam, pits for avenue trees, and pits for poles and towards and catch water pits and pipe laying works trenches for water supply and sewerage works.

d)	An extra 50 percent over the rates for ordinary excavation in all the soils and rock classification given above shall be allowed for drains, channels, contour trenches and canals having bed width 1.25 m and below. The extra percentage is applicable any for depth upto 2.00m the depth being measured from the bottom of excavation.

e)	An extra 25 percent over the rates for ordinary excavation on all the soils and rock classification given shall be allowed for drains, channels and canals having bed width 1.25m to 2.00m. The extra percentage is applicable only for depth upto 2.0m the depth being measured from the bottom of excavation.

f)	These rates for earth work do not include baling charge. The baling charges are to be paid as per actuals in case baling is done departmentally or at actuals plus 10 percent extra in case baling is done by other agencies. However for estimate purpose baling charges are to be provided at 10 percent of the rates of respective items of excavation in all soils including medium rock and dense medium rock and at 5 percent of the rates for excavation in hard rock.

g)	Double the relevant rate for standard specification No.20B for excavation in all soils and rock classification given above shall be allowed for circular trenches for soil and moisture conservation having bed width of 0.25m and below with side slope of 1/2:1 and not less than 0.75 m in depth.

OPEN WELL EXCAVATION

| Sche-dule Item No. | Description | Unit | Rate |
| --- | --- | --- | --- |
| 1. | Earth work open well excavation, complying with relevant clauses of T.N.D.S.S. well sinking and with lead upto 10 metres in sand, silt or other loose soil, wet sand or silt not under water, light black cotton soil, sandy loam and ordinary soil. First depth of 2 metres. | 1m3 | 19.25 |
| 2. | Earth work open well excavation, complying with relevant clauses of T.N.D.S.S. well sinking and with lead upto 10 metres in hard stiff clay, stiff black cotton soil, hard red earth, shales murams gravel, stony earth and earth mixed with small size boulders and gravelly soil First depth of 2 metres | 1m3 | 28.60 |
| 3. | Earth work open well excavation, complying with relevant clauses of T.N.D.S.S. well sinking and with lead upto 10 metres in soft disintegrated rock, laterite, soft rock or kankar, not requiring blasting, First depth of 2 metres | 1m3 | 44.00 |
| 4. | Open well excavation, complying with relevant clauses of T.N.D.S.S. well sinking and with lead upto 10m in medium rock and dense medium rock not requiring blasting. First depth of 2 metres | 1m3 | 71.50 |
| 5. | Open well excavation complying with relevant clauses of T.N.D.S.S. well sinking and with lead upto 10m in medium rock and dense medium rock requiring blasting. First depth of 2 metres | 1m3 | 107.80 |
| 6. | Open well excavation complying with relevant clauses of T.N.D.S.S. well sinking and with lead upto 10m in hard granite measured in solid including blasting and stacking. First depth of 2 metres | 1m3 | 209.00 |
| 7. | Sinking well in loose soils, light black cotton soil, sandy loam and ordinary soil under water including bailing or pumping charges if necessary etc., complete first depth of 2 metres | 1m3 | 29.70 |
| 8. | Sinking well in s and, including bailing or pumping charges if necessary etc. complete First depth of 2 metres | 1m3 | 41.80 |
| 9. | Sinking well in hard stiff clay, light black cotton soil, hard red earth, shales, murram, gravel, stoney earth, and earth mixed with small size boulders and hard gravelly soil including bailing or pumping charges if necessary etc., complete –First depth of 2 metres | 1m3 | 41.80 |

Note : Open well Excavation

a)	Upto 2m diameter of wells 10 percent excess will be allowed over the basic rates for open well excavation.

b)	The rates do not include baling charges. If the dewatering is to be done departmentally, 10 percent of cost of excavation shall be allowed for dewatering for estimate purposes. Actuals or 10 percent whichever is less to be allowed for dewatering charges. For any expenditure above this percentage prior approval of the competent authority should be obtained.

- "Stage depth rates for well excavation"  The stage depth for adopting the rates from  the schedule of rates should be reckoned from ground level only irrespective of the  fact, whether there is parapet wall or not.

d)	For open well excavation for rates upto 12m depth the progression would be x, 2x, 3x, 4x, 5x, and 6x and rate beyond 12 metre depth the progression should be 8x, 10x, 12x, 14x and 16x and so on.

# RATE FOR EARTH WORK BY DEPLOYING MACHINERIES

| Schedule Item No. | Description | Unit | Rate |
| --- | --- | --- | --- |
| 1. | Earth work in all soils except hard rock requiring blasting and conveying for formation of bund with lead of 0 to 100 metre deploying earth moving machineries and tippers including benching, formation of bunds, breaking clods, sectioning etc., complete. | 1m3 | 34.60 |
| a. | Earth work in all soils except hard rock requiring blasting and conveying for formation of bund with an extra lead of every 100 metre or part thereof deploying earth moving machineries and tippers including benching, formation of bunds, breaking clods, sectioning etc., complete. | 1m3 | 2.85 |
| 2. | Earth work deploying earth moving machineries for desilting channel and forming bund on either side and depositing the earth on blanks including jungle clearance etc., complete. |  |  |
| a. | Having width upto 3 m | 1m3 | 20.50 |
| b. | Having width upto 3 m – 10 m | 1m3 | 24.95 |
| 3. | Earth work excavation deploying earth moving machineries for desilting channel having a width of more than 10 m and forming bund on either side and depositing the earth on banks including jungle clearance etc., complete. | 1m3 | 29.10 |

vi. Rates - concrete - brick or stone masonry

above or below ground level

| Schedule Item No. | Description | Unit | Rate |
| --- | --- | --- | --- |
|  | Note: The rate for lime concrete, cement concrete, reinforced cement concrete, brick work and stone masonry worked out as per Standard Data will apply to basement and foundation upto a depth of 1.50 m below ground level only (basic rate) |  |  |
| a) 1. | Statement I Concrete above ground level Add to the basic rates for works upto 4.50m height in ground floor (height to be reckoned from floor level i.e. plinth level in ground level) | 1m3 | 30.60 |
| 2. | Add for works in every upper floor over the rate of preceding floor | 1m3 | 61.05 |
| 3. | Brick or stone masonry above ground level |  |  |
| i. | Add to the above basic rate for works upto 4.50m height in ground floor (height to be reckoned from floor level i.e. plinth level in ground level) | 1m3 | 20.35 |
| ii. | Add for works in every upper floor over the rate of preceding floor | 1m3 | 40.70 |
|  | Note:i For the works above 4.5m height in individual floor the rate of next floor may be taken. The extra rates allowed for building works are applicable to irrigation works and road works also. The extra rates may be allowed for the structures beyond 1.00m above ground level. ii) The extra rates may be allowed considering the ground level as datum in respect of service reservoirs (where there is no plinth level) |  |  |
| a) 1. | Statement ii Concrete below ground level Add the basic rates for works above 1.5m depth and upto 4.5m depth below ground level | 1m3 | 30.25 |
| 2. | Add the basic rates for works above 4.5m depth and upto 9.0 m depth below ground level | 1m3 | 60.50 |

| Schedule Item No. | Description | Unit | Rate |
| --- | --- | --- | --- |
| 3. | Add extra over the above item 2 for every additional 4.5m depth beyond 9m depth below ground level | 1m3 | 60.50 |
|  | Brick or stone masonry below ground level |  |  |
| 1. | Add the basic rates for works above 1.5m depth and upto 4.5m depth below ground level | 1m3 | 20.35 |
| 2. | Add the basic rates for works between 4.5m depth and upto 9.0m depth below ground level | 1m3 | 40.70 |
| 3. | Add extra over the above item 2 for every additional 4.5m depth beyond 9m depth below ground level | 1m3 | 40.70 |

Note : 1)	1.	The above extra rates are applicable for buildings, irrigations, and road works.

2.	First Grade stone includes hard granite, trap, etc. second Grade stone includes gneiss, lime stone etc.

3.	The class of materials to be used should always be defined in the items, description in tender schedules, contract schedules etc.

4.	For reinforced cement concrete work, only the hardest locally available stone will be used, if it has good bonding surface and is otherwise suitable proportions for concrete are defined in the relevant standard specification.

5.	Note under Sl.No.179 to 187 in the standard data book applies to arches over doors and windows. For large arches in bridges and irrigation works, addition to this rate extra cost of centering is to be made.

6.	For concrete mix

a.	Equal mixes (i.e.) 50 percent mortar mixes only should be adopted for plain concrete for foundation, flooring and RC Concrete for roofs, lintels, etc. wherever cement is used with hard broken stones or brick jelly.

b.	40 percent or 50 percent mortar mixer may be adopted where lime concrete with brick aggregate is used according to the condition at site.

| Schedule Item No. | Description | Unit | Rate |  |
| --- | --- | --- | --- | --- |
| 1. | CONCRETE VIBRATORS Where vibrators are specified for consolidation in plain concrete, this rate per cu.m over and above the provision made in the standard data book for consolidation with manual labour may be allowed. | 1m3 | 18.15 |  |
| 2. | Where vibrators are specified for consolidation in RCC this rate per cu.m over and above the provision made in the standard data book for consolidation with manual labour may be allowed. | 1m3 | 24.20 |  |
| Scaffolding centering etc. |  |  |  |  |
| 1. | Scaffolding charges for plastering for repair works only 4m to 6m above ground level | 1m2 | 0.85 |  |
| 2. | Scaffolding charges for plastering for repair works only 6m to 10m above ground level | 1m2 | 1.10 |  |
| 3. | Scaffolding charges for plastering for repair works only over 10m above ground level | 1m2 | 1.50 |  |
| 4. | Scaffolding charges for white or colour washing, for repair works only. 4m to 6 m above ground level | 1m2 | 0.70 |  |
| 5. | Scaffolding charges for white or colour washing for repair works only. 6m to 10m above ground level | 1m2 | 0.95 |  |
| 6. | Scaffolding charges for white or colour washing, for repair works only. Over 10m above ground level | 1m2 | 1.30 |  |
| 7. | Scaffolding charges for painting for repair works only 4m to 6m above ground level | 1m2 | 0.45 |  |
| 8. | Scaffolding charges for painting for repair works only 6m to 10m above ground level | 1m2 | 0.50 |  |
| 9. | Scaffolding charges for painting for repair works only over 10m above ground level | 1m2 | 0.70 |  |
| ### Plastering |  |  |  |  |
| 1. | Clean removal of lime plaster from walls and racking out joints 20mm deep or from terraced roofs racking out joints 12mm deep | 1m2 |  | 2.55 |
| 2. | Clean removal of lime plaster from walls | 1m2 |  | 2.00 |
| 3. | Clean removal of cement plaster from walls | 1m2 |  | 2.15 |
| 4. | Clean removal of cement plaster from walls and racking out joints 20mm deep | 1m2 |  | 2.75 |

# White washing and colour washing and distembering

a. White washing

| Schedule Item No. | Description | Unit | Rate |
| --- | --- | --- | --- |
| 1. | Thorough scrapping of old plastered surface | 1m2 | 1.25 |
| 2. | Washing of plastered surface with soap, soda and water (or) with soda, lime, brush and water) | 1m2 | 1.50 |
| Painting, wood oiling, tarring, varnishing bee's waxing etc |  |  |  |
| 1. | Removing old paints from doors and windows by blow lamp and scrapping, including removal and refitting of shutters | 1m2 | 9.00 |
| 2. | Removing old paints from doors and windows by scrapping and refitting of shutters | 1m2 | 3.90 |
| 3. | Removing paints from doors, windows and wood work by manual labour | 1m2 | 2.65 |
| 4. | Removing old paint from structural steel by blow lamp or sand paper | 1m2 | 5.50 |
| 5. | Repolishing the mosaic flooring including polishing stone and hire charges for polishing machine but excluding cost of electrical charges. | 1m2 | 5.35 |
| 6. | Scrapping and removing old paint from structural steel by manual labour | 1m2 | 2.45 |
| 7. | Removing old paint from iron surface with sand paper | 1m2 | 2.40 |

| Schedule Item No. | Description | Unit | Rates (Rs.) |
| --- | --- | --- | --- |
| ### Miscellaneous |  |  |  |
| i. | Supplying & filling up the empty cement gunny bag with sand, stitching them conveying the same to site – and stacking as directed with in a lead of 10m excluding cost of bags, jute, thread, needle, sand etc. (labour only) | 1 bag | 2.40 |
| ii. | Driving piles upto 15 cm dia in river bed | 1 RM | 7.15 |
| iii. | Pointing the edge and driving bamboo/ casurina/ eucalyptus piles into river bed for the first 1m depth below ground level | Each | 6.05 |
| iv. | Driving bamboo/Casurina/Eucalyptus piles into ground beyond 1m depth from ground level. For every 1m (or) part thereof | 1 RM | 6.05 |
|  | ## River Conservancy of Korambu Works |  |  |
| v. | Brush wood bundles one metre girth and one metre long within an initial lead of 1.6 KM | One bundle | 1.30 |
| vi. | Extra for every additional lead of 1.6 KM (for the above item) | One bundle | 0.15 |
| vii. | Driving casurina piles into bed including scaffolding etc., complete | RM | 3.00 |
| viii. | Casurina walling pieces 40mm to 50mm diameter including fixing with nails and tying with ropes. | RM | 4.05 |
| Labour wrought and put up for doors windows and ventilators |  |  |  |
| 1. | Labour for wrought and put up in position frames inclusive of fixing hold fast for doors, windows and ventilators etc. | 1m3 | 3503.50 |
| 2. | Labour for wrought and put up in position of shutters for fully panelled doors (external or internal) moulded panels (all sizes) including labour charges for fixing furniture fittings, complying with standard drawings and standard specifications. | 1m2 | 396.00 |
| 3. | Labour for wrought and put up in position of shutters for fully panelled doors internal five plywood panels including labour charges for fixing furniture fittings, complying with standard drawings and standard specifications | 1m2 | 330.00 |
| 4 . | Labour for wrought and put up in position of shutters for glazed and panelled doors including labour charges for fixing furniture fittings, complying with standard drawings and standard specifications. | 1m2 | 368.50 |
| Schedule Item No. | Description | Unit | Rate |
| 5. | Labour for wrought and put up in position of shutters for framed and planked doors including labour charges for fixing furniture fittings, complying with standard drawings and standard specifications | 1m2 | 308.00 |
| 6. | Labour for wrought and put up in position of shutters for ledged, braced and planked doors including labour charges for fixing furniture fittings complying with standard drawings and standard specifications | 1m2 | 209.00 |
| 7. | Labour for wrought and put up in position of shutters for glazed windows including labour charges for fixing furniture fittings, complying with standard drawings and standard specifications | 1m2 | 368.50 |
| 8. | Labour for wrought and put up in position of shutters for windows paneled including labour charges for fixing furniture fittings, complying with standard drawings and standard specifications | 1m2 | 396.00 |
| 9. | Labour for wrought and put up in position of shutters for windows, ledged braced and planked doors including labour charges for fixing furniture fittings, complying with standard drawings and standard specifications | 1m2 | 209.00 |
| 10. | Labour for wrought and put up in position frames shutters for ventilators glazed fixed double frames and with wire netting complete fixed in position in accordance with standard specifications and drawing | 1m2 | 330.00 |
| 11. | Labour for wrought and put up in position frames shutters for swing ventilators and fixed in position in accordance with standard specifications and drawings | 1m2 | 308.00 |
| 12. | Labour charges for fixing doors along with frames in position etc. complete(finished work) | 1m2 | 59.40 |
| 13. | Labour charges for fixing windows and ventilators along with frames in position etc. complete | 1m2 | 74.80 |
| 14. | Labour wrought and put up in position flush shutters for single leaf shutters. | 1m2 | 55.00 |
| 15. | Double leaf shutters | 1m2 | 85.80 |
| 16. | Labour for wrought and put up in position fly proof wire gauge shutters for doors and windows and ventilators | 1m2 | 198.00 |
| 17. | Labour for wrought and put up for providing teak wood weld mesh screen with frames 3"x3" (0.075mx0.075m) | 1m2 | 275.00 |

| Schedule Item No. | Description | Unit | Rate |
| --- | --- | --- | --- |
|  | ## Breaking metals |  |  |
| i. | Labour charges for breaking 40mm metal from departmental blasted stones | M3 | 105.60 |
| ii. | Labour charges for breaking 20mm metal from departmental blasted stones | M3 | 157.30 |
| iii. | Labour charges for breaking 50mm metal from departmental blasted stones | M3 | 62.70 |
|  | ## Cement Mortar |  |  |
| i. | Grinding Mortar (Special Grinding lime) | M3 | 95.70 |
| ii. | Grinding Mortar (Ordinary Grinding lime) | M3 | 72.60 |
| iii. | Mixing Mortar – Cement by manual | M3 | 29.70 |
| iv. | Mixing Mortar- Cement by Machine Mixing | M3 | 41.80 |
|  | ## Metal & Iron works |  |  |
| i. | Petty ironwork for truss, straps etc. (Wrought & fixed)labour only | Kg | 14.30 |
| ii. | Iron works for trusess & record racks (labour only) | kg | 13.20 |
| iii. | Supplying & fixing mild steel grills for windows, ventilators, etc., including priming coat. | Kg | 46.20 |
| iv. | Fixing MS rods round/square for windows | Kg | 7.70 |
| v. | Fixing iron bars in windows and ventilators | Kg | 7.70 |